## Sheet1
Model | Description | MSRP
CCTV - Power, Video and Data Protection
DTK-DRP16 | 16 Channel Digital Video Recorder Protector - (Power/Video/Battery Back-Up) - BNC Coax Video In/Out, 2.8V Clamp | 1055
DTK-DRP16B | 16 Channel Digital Video Recorder Protector - (Power/Video/Battery Back-Up), UTP Video In/Balun Conversion/BNC Out, 6.8V Clamp | 1398
DTK-DRP16T | 16 Channel Digital Video Recorder Protector - (Power/Video/Battery Back-Up) - UTP Video In/Out, 2.8V Clamp | 1395
DTK-DRP16M | REPLACEMENT BACK PLANE SURGE MODULE FOR DRP16 | 267
DTK-DRP16BM | REPLACEMENT BACK PLANE SURGE MODULE FOR DRP16B | 491
DTK-DRP16TM | REPLACEMENT BACK PLANE SURGE MODULE FOR DRP16T | 531
DTK-DRP MBK | Rack Mounting Hardware for DRP16 Series | 40
DTK-RM16NM | 16 Channel Rackmount Video Line Protection, BNC Coax In/Out - 2.8V Clamp | 428
DTK-4VPM | 4 Channel Replacment Module for DTK-RM16NM | 88
DTK-4VP | Four Channel BNC Video Protection, 2.8V Clamp | 175
DTK-DP4P | PTZ Camera Protection, 24VDC Power - BNC Coax Video In/Out 2.8V Clamp - 2 Pair Signal, 6.8V clamp | 135
DTK-DP4PBP | PTZ Camera Protection, 24VDC Power - UTP Video In/Balun conversion/ BNC Out, 6.8V Clamp - 2 Pair Signal, 6.8V clamp | 155
DTK-DP4PTPV | PTZ Camera Protection, 24VDC Power - UTP In/Out, 2.8V Clamp - 2 Pair Signal - 6.8V clamp | 147
DTK-PVP27B | Fixed Camera Protection, 24VDC Power - BNC Coax Video In/Out, 2.8V clamp | 75
DTK-PVP27BTPV | Fixed Camera Protection, 24VDC Power - UTP Video In/Out, 2.8V Clamp | 78
DTK-PVP27C | Coaxitron PTZ Camera Protection, 24VDC Power- BNC Coax Video In/Out-6.8V clamp | 75
DTK-PVPIP | IP Video Power and Data Surge Protector, RJ45 In/Out, 6.8V Clamp | 128
DTK-IBNC2.8 | Camera Video Line Protection - BNC "In Line" Connection - 2.8V Clamp | 62
DTK-IBNC6.8 | Camera Video Line Protection - BNC "In Line" Connection - 6.8V Clamp | 62
DTK-IBNCHD | In Line HD-SDI Video Protecton 4.2V Clamp | 108
DTK-VSPBNCA | Head-end Single Channel Video Line Protection - BNC Connector, Coaxitron compatible 6.8V Clamp | 60
DTK-VSPBNCA2 | Head-end Dual Channel Video Line Protection - BNC Connectors, Coaxitron compatible 6.8V Clamp | 100
DTK-MRJPOE | Power over Ethernet Surge Protec tion - RJ45 Connection, CAT5e | 78
DTK-RM12POE | Rack Mount Power Over Ethernet Surge Protection - 12 Port, 2U, RJ45 Connection In/Out, Pins 1-8, 64V MCOV | 845
DTK-RM12POEM | Rack Mount Power Over Ethernet Surge Protection - 12 Port, 2U, RJ45 Connection In/Out, Pins 1-8, 64V MCOV | 66
DTK-MRJPOEM | Replacement Surge Module for RM12POE/FP, 1 Port, 4 pair, RJ45 In/Out | 66
DTK-POC | POWER OVER COAX SURGE PROTECTION | 78
DTK-RM16POC | 16-CHANNEL RACK MOUNT POWER OVER COAX POC PROTECTION | 610
DTK-1TPV | 1 Pair Video Line Protection, UTP Terminal Strip | 58
DTK-2TPV | 2 Pair Video Line Protection, UTP Terminal Strip | 93
DTK-4TPV | 4 Pair Video Line Protection, UTP Terminal Strip | 140
CCTV Accessories
DTK-GLI | GROUND LOOP ISOLATOR | 38
CATV Video & Power Protection
DTK-IVSPA | CATV Single Video Feed Protection - "In-Line" "F" Type Connector | 62
DTK-VSPA | CATV Single Video Feed Protection - "F" Type Connector | 65
DTK-VSPA2 | CATV Dual Video Feed Protection - "F" Type Connector | 102
Specialty Coax Protectors
DTK-VSPN | Antenna Line Protection - "N" Type Connector | 113
Total Surge Solutions - Control / Fire / Burg Panels and Communication Circuits
DTK-TSS1 | Protects 120VAC Power and 10 Pairs of SLC/ IDC/NAC Circuits - (1) 120SR, (1) 2MHLPTM, (1) 5MB. Housed in locking UL Listed gray metal enclosure. Expandable to 10 pairs (5 modules). (DTK-2MHLPXXB modules purchased separately) | 501
DTK-TSS1IP | Protects 120VAC Power and 10 Pairs of SLC/ IDC/NAC Circuits - (1) 120SR, (1) 2MHLPTM, (1) 5MB, (1) MRJ45C5e. Housed in locking UL Listed gray metal enclosure. Expandable to10 pairs (5 modules). (DTK-2MHLPXXB modules purchased separately) | 586
DTK-TSS2 | Protects 120VAC Power and 4 pairs of SLC/ IDC/ NAC circuits - (1) 120SR, (1) 2MB. Suppressors housed in NEMA 4X Enclosure. (DTK-2MHLPXXB modules purchased separately) | 345
DTK-TSS2IP | Alarm Panel TVSS, AC, 2 Loop Circuits, IP Comm | 410
DTK-TSS3 | Protects 4 Pairs of SLC/IDC/NAC circuits. DTK-2MB mounted in a NEMA 4X Enclosure (DTK-2MHLPXXB modules purchased separately) | 148
DTK-TSS4 | Protects 120VAC power - (1) 120SR mounted in a NEMA 4X Enclosure | 185
DTK-TSS4D | TVSS 120V 40KA SERIES IN NEMA 4 ENCLOSURE W/DRY CONTACTS | 185
Consult Factory for Additional Customized Solutions
DTK-APK1 | Security Control Panel Protection Kit -120VAC Power - (1) 1F (Single Outlet Plug In) and Dialer - (1) MRJ31XSCPWP (RJ45 Mod Jack) | 55
DTK-APKIP | SECURITY CONTROL PANEL PROTECTION KIT WITH NETWORK PROTECTION | 100
DTK-1F31X | Security Control Panel Power and Dialer Protection - Single Outlet Plug In protection for 120VAC includes 1 pair protection for RJ31X dialer circuit. Hardwired | 22
DTK-FPK1 | Fire Alarm Control Panel Protection Kit - (1) 120HW (120VAC 15A power, hardwired parallel connection) , (2) MRJ31XSCPWP (RJ45 Mod Jack) for RJ31X dialer circuits. | 133
DTK-FPK2 | Fire Alarm Control Panel Protection Kit - (1) 120SR (120VAC 20A power, hardwired series connection) and (2) MRJ31XSCPWP (RJ45 Mod Jack) for RJ31X dialer circuits. | 198
DTK-FPK3 | Fire Alarm Control Panel Protection Kit - (1) 120SR (120VAC 20A power, hardwired series connection) and (1) DTK-2MHTPWB (130V, 2 pair, Telco Field Replaceable Suppression Module w/Hardwired Base | 225
DTK-FPK4 | IP Dialer Fire Alarm Panel Protection Kit - (1) 120SR (120VAC 20A power, hardwired series connection) and (1) MRJ45C5E (4 pair, RJ45 In/Out Modular Jack, CAT5e) | 207
DTK-GPK1 | Gate Control Panel Protection Kit - (1) 120HW (120VAC power), (1) 4LVLPCR (card reader) , (1) 4LVTEP (telco), (1) 4LVLPD (data) | 273
Low Voltage - Specialty Suppressors
DTK-MRJ31XSCPWP | Control Panel Dialer Protector - RJ45 Mod Jack for RJ31X dialer circuits, with Patch Cord. 150 mA self resettable fuse | 42
DTK-2LVLPF | 2 Pair SLC Loop Protection -compatible with Notifier & Firelite Panels, 1/2 Amp fuse | 72
DTK-4LVLPCR | 4 Pair Card Reader Protection- 1 Pair each 12V Power, 24V Power, 5V Data, 1V Signal | 67
DTK-4LVTEP | 4 Pair Telephone Entry Protection - 1 Pair 12V, 1 Pair 24V Power, 1 Pair 130V Telco, 1 Pair 5V Data | 88
DTK-4LVXR | 4 Pair Telephone Entry Protection - 1 Pair 12/24V Power, 2 Pair 130V Telco, 1 Pair 24V Mag Lock Release | 78
DTK-ESS | Access Control Cabinet Mag Lock Wiring Protection, 24V | 33
Low Voltage - Data/Signal/Voice - Field Replaceable Modules with Hardwired Bases
DTK-2MHLP5B | 5V, 2 Pair, Hybrid Field Replaceable Suppression Module | 75
DTK-2MHLP5BWB | 5V, 2 Pair, Hybrid Field Replaceable Suppression Module w/ Hardwired Base | 93
DTK-2MHLP12B | 12V, 2 Pair, Hybrid Field Replaceable Suppression Module | 75
DTK-2MHLP12BWB | 12V, 2 Pair, Hybrid Field Replaceable Suppression Module w/ Hardwired Base | 93
DTK-2MHLP24B | 24V, 2 Pair, Hybrid Field Replaceable Suppression Module | 75
DTK-2MHLP24BWB | 24V, 2 Pair, Hybrid Field Replaceable Suppression Module w/ Hardwired Base | 93
DTK-2MHLP36B | 36V, 2 Pair, Hybrid Field Replaceable Suppression Module | 75
DTK-2MHLP36BWB | 36V, 2 Pair, Hybrid Field Replaceable Suppression Module w/ Hardwired Base | 93
DTK-2MHLP48B | 48V, 2 Pair, Hybrid Field Replaceable Suppression Module | 75
DTK-2MHLP48BWB | 48V, 2 Pair, Hybrid Field Replaceable Suppression Module w/ Hardwired Base | 93
DTK-2MHLP75B | 75V, 2 Pair, Hybrid Field Replaceable Suppression Module | 75
DTK-2MHLP75BWB | 75V, 2 Pair, Hybrid Field Replaceable Suppression Module w/ Hardwired Base | 93
DTK-2MHTP | 130V, 2 Pair, Hybrid Field Replaceable Suppression Module | 82
DTK-2MHTPWB | 130V, 2 Pair, Hybrid Field Replaceable Suppression Module w/ Hardwired Base | 100
DTK-2MHLPTM | Test Module for 2MHLP Application | 32
DTK-MB10 | Single Module Snaptrack-type Base for 2MHLP Series | 35
DTK-2MB | Two Module Snaptrack-type Base for 2MHLP Series | 58
DTK-3MB | Three Module Snaptrack-type Base for 2MHLP Series | 93
DTK-4MB | Four Module Snaptrack-type Base for 2MHLP Series | 118
DTK-5MB | Five Module Snaptrack-type Base for 2MHLP Series | 140
DTK-MBV | Base for Single MHLP Series w/vertical In/Output | 35
DTK-XB10 | Edge card Base for 2MHLP Series | CF
Low Voltage - Signal/Voice - Screw Terminal
DTK-1LVLPX | 1-Pr, 14V, 22-16 AWG Terminal Strip, UL497B Listed | 42
DTK-1LVLPLV | 1-Pr, 30V, 22-16 AWG Terminal Strip, UL497B Listed | 42
DTK-1LVLPSCPRUV | 1 Pair - 130V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 47
DTK-2LVLPD | 2 Pair - 6V- Terminal Strip - 16-22 AWG | 52
DTK-2LVLPSCPD | 2 Pair - 6V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 58
DTK-2LVLPX | 2 Pair - 14V- Terminal Strip - 16-22 AWG | 52
DTK-2LVLPSCPX | 2 Pair - 14V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 58
DTK-2LVLPLV | 2 Pair - 30V- Terminal Strip - 16-22 AWG | 52
DTK-2LVLPSCPLV | 2 Pair - 30V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 58
DTK-2LVLAWGLV | 2 Pair - 30V- Terminal Strip - 10-14 AWG | 72
DTK-2LVLPOPX | 2 Pair - 50V- Terminal Strip - 16-22 AWG | 52
DTK-2LVLPSCPOPX | 2 Pair - 50V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 58
DTK-2LVLPSCPSPK | 2 Pair - 75V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 58
DTK-2LVLPSCPSGR | 2 Pair - 95V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 58
DTK-2LVLPRUV | 2 Pair - 130V- Terminal Strip - 16-22 AWG | 52
DTK-2LVLPSCPRUV | 2 Pair - 130V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 58
DTK-3LVLPX | 3 Pair - 14V- Terminal Strip - 16-22 AWG | 67
DTK-4LVLPD | 4 Pair - 6V- Terminal Strip - 16-22 AWG | 75
DTK-4LVLPSCPD | 4 Pair - 6V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 92
DTK-4LVLPX | 4 Pair - 14V- Terminal Strip - 16-22 AWG | 75
DTK-4LVLPSCPX | 4 Pair - 14V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 92
DTK-4LVLPLV | 4 Pair - 30V- Terminal Strip - 16-24 AWG | 75
DTK-4LVLPSCPLV | 4 Pair - 30V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 92
DTK-4LVLAWGLV | 4 Pair - 30V- Terminal Strip - 10-14 AWG | 100
DTK-4LVLPOPX | 4 Pair - 50V- Terminal Strip - 16-22 AWG | 75
DTK-4LVLPSCPOPX | 4 Pair - 50V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 92
DTK-4LVLPRUV | 4 Pair - 130V- Terminal Strip - 16-22 AWG | 75
DTK-4LVLPSCPRUV | 4 Pair - 130V- Terminal Strip - 16-22 AWG - 150mA self resettable fuse | 92
DTK-8LVLPD | 8 Pair - 6V- Terminal Strip - 16-22 AWG | 178
DTK-8LVLPLV | 8 Pair - 30V- Terminal Strip - 16-22 AWG | 178
Low Voltage - Voice/Signal and Power- RJ11 / RJ14 / RJ45 Modular Jack
DTK-MRJ45SCPD | 4 pair, 6V, RJ45 In/Out Modular Jack | 60
DTK-MRJ45SCPX | 4 pair, 14V, RJ45 In/Out Modular Jack | 60
DTK-MRJ45SCPLV | 4 pair, 30V, RJ45 In/Out Modular Jack | 60
DTK-MRJ45SCPOPX | 4 pair, 50V, RJ45 In/Out Modular Jack | 60
DTK-MRJ45SCPRUV | 4 pair, 130V, RJ45 In/Out Modular Jack | 60
DTK-MRJTLC | Single Channel Telecenter VI Surge Protector | 65
DTK-RM12TLC | 12 Channel Rack Mount Telecenter VI Surge Protector. Protects telco, speaker, clock and call circuits for up to twelve portable classrooms | 778
DTK-1FF | 1 pair, 130V, RJ11 In/Out Modular Jack (w/patch cord) and 120VAC power protection, single outlet w/Retention Screw | 20
DTK-6FF | 1 pair, 130V, RJ11 In/Out Modular Jack (w/patch cord) and 120VAC power protection, six outlet w/Retention Screw | 25
DTK-8FF | 1 pair, 130V, RJ11 1 In/2 Out Modular Jack (w/patch cord) and 120VAC power protection, 8 outlet power strip, 6' cord | 28
Low Voltage - Voice/Signal - Mass Terminating - RJ21X Modular Jack
DTK-MT25PSCPLV | 30V, 25 Pair, RJ21X In/Out, 150mA self resettable fuse | 305
DTK-MT25PSCPRUV | 130V, 25 Pair, RJ21X In/Out, 150mA self resettable fuse | 305
Low Voltage - Voice/Signal - Hardwired Punch Down
DTK-1PRUV | 1 pair, 130V, 66 Block Punch Down | 33
DTK-2PD | 2 pair, 6V, 66 Block Punch Down | 35
DTK-2PLV | 2 pair, 30V, 66 Block Punch Down | 35
DTK-2POPX | 2 pair, 50V, 66 Block Punch Down | 35
DTK-2PRUV | 2 pair, 130V, 66 Block Punch Down | 35
DTK-2PSGR | 2 pair, 95V, 66 Block Punch Down | 35
DTK-2PSPK | 2 pair, 75V, 66 Block Punch Down | 35
DTK-2PX | 2 pair, 14V, 66 Block Punch Down | 35
DTK-4PD | 4 pair, 6V, 66 Block Punch Down | 55
DTK-4PLV | 4 pair, 30V, 66 Block Punch Down | 55
DTK-4POPX | 4 pair, 50V, 66 Block Punch Down | 55
DTK-4PRUV | 4 pair, 130V, 66 Block Punch Down | 55
DTK-4PSGR | 4 pair, 95V, 66 Block Punch Down | 55
DTK-4PSPK | 4 pair, 75V, 66 Block Punch Down | 55
DTK-4PX | 4 pair, 14V, 66 Block Punch Down | 55
DTK-8PRUV | 8 pair, 130V, 66 Block Punch Down | 113
Low Voltage - Voice/Signal - 66 Block Snap On - 1 Pair
DTK-ZSI6A | 6V - '66 Block Snap On Protection w/150mA self resettable fuse, for low capacitance digital circuits | 38
DTK-S14A | 14V - 66 Block Snap On Protection w/ 150mA self resettable fuse, for digital circuits | 22
DTK-S14B | 14V - 66 Block Snap On Protection for digital circuits | 20
DTK-S14B12PK | 14V - 66 Block Snap On Protection for digital circuits | 233
DTK-SL30A | 30V - 66 Block Snap On Protection w/Diagnostic LED & 150mA self resettable fuse, for analog circuits | 22
DTK-SL30A12PK | 30V - 66 Block Snap On Protection w/Diagnostic LED & 150mA self resettable fuse, for analog circuits | 258
DTK-S30A | 30V - 66 Block Snap On Protection for Digital circuits w/ 150mA self resettable fuse, for digital circuits | 22
DTK-S30A12PK | 30V - 66 Block Snap On Protection for Digital circuits w/ 150mA self resettable fuse, for digital circuits | 258
DTK-SL30B | 30V - 66 Block Snap On Protection w/Diagnostic LED, for analog circuits | 22
DTK-SL30B12PK | 30V - 66 Block Snap On Protection w/Diagnostic LED, for analog circuits | 258
DTK-S30B | 30V - 66 Block Snap On Protection, for digital circuits | 20
DTK-S30B12PK | 30V - 66 Block Snap On Protection, for digital circuits | 233
DTK-SL50A | 50V - 66 Block Snap On Protection w/Diagnostic LED & 150mA self resettable fuse, for analog circuits | 22
DTK-SL50A12PK | 50V - 66 Block Snap On Protection w/Diagnostic LED & 150mA self resettable fuse, for analog circuits | 258
DTK-S50A | 50V - 66 Block Snap On Protection for Digital circuits w/ 150mA self resettable fuse, for digital circuits | 22
DTK-S50A12PK | 50V - 66 Block Snap On Protection for Digital circuits w/ 150mA self resettable fuse, for digital circuits | 258
DTK-SL50B | 50V - 66 Block Snap On Protection w/Diagnostic LED, for analog circuits | 22
DTK-SL50B12PK | 50V - 66 Block Snap On Protection w/Diagnostic LED, for analog circuits | 258
DTK-S50B | 50V - 66 Block Snap On Protection, for digital circuits | 20
DTK-S50B12PK | 50V - 66 Block Snap On Protection, for digital circuits | 233
DTK-SL95A | 95V - 66 Block Snap On Protection w/Diagnostic LED & 150mA self resettable fuse, for analog circuits | 22
DTK-SL95A12PK | 95V - 66 Block Snap On Protection w/Diagnostic LED & 150mA self resettable fuse, for analog circuits | 258
DTK-SL95B | 95V - 66 Block Snap On Protection w/Diagnostic LED, for analog circuits | 22
DTK-SL95B12PK | 95V - 66 Block Snap On Protection w/Diagnostic LED, for analog circuits | 258
DTK-SL130A | 130V - 66 Block Snap On Protection w/Diagnostic LED & 150mA self resettable fuse, for analog circuits | 22
DTK-SL130A12PK | 130V - 66 Block Snap On Protection w/Diagnostic LED & 150mA self resettable fuse, for analog circuits | 258
DTK-S130A | 130V - 66 Block Snap On Protection & 150mA self resettable fuse, for digital circuits | 22
DTK-S130A12PK | 130V - 66 Block Snap On Protection & 150mA self resettable fuse, for digital circuits | 258
DTK-SL130B | 130V - 66 Block Snap On Protection w/Diagnostic LED, for analog circuits | 22
DTK-SL130B12PK | 130V - 66 Block Snap On Protection w/Diagnostic LED, for analog circuits | 258
DTK-S130B | 130V - 66 Block Snap On Protection, for digital circuits | 20
DTKS130B12PK | 130V - 66 Block Snap On Protection, for digital circuits | 233
DTK-SIGB | Ground Bar | 13
DTK-SIGBS | SNAPIT Ground Bar for Siemon Blocks | 18
DTK-TPKL8 | Voice/Signal Kit - Power, 8 pair 130V voice and ground bar | 225
Low Voltage - Data/Ethernet/VoIP
DTK-MRJ45C5E | 4 pair - RJ45 In/Out Modular Jack - CAT5e | 87
DTK-MRJ45C5EGP | 4 pair - RJ45 In/Out Modular Jack - CAT5e, with Ground Plug - | 128
DTK-MRJ45DSL | 4 pair - RJ45 In/Out Modular Jack for Digital Subscriber Lines | 98
DTK-110RJC6A | CAT6A Ethernet Surge Protection with RJ45 IN/ 110 OUT Unshielded | 153
DTK-110RJC6APOE | CAT6A POE Surge Protection with RJ45 IN/ 110 OUT Unshielded | 153
DTK-110RJC6AS | CAT6A Ethernet Surge Protection with RJ45 IN/ 110 OUT Shielded | 165
DTK-110RJC6APOES | CAT6A POE Surge Protection with RJ45 IN/ 110 OUT Shielded | 165
DTK-110C6A | CAT6A Ethernet Surge Protection with 110 IN/ 110 OUT | 132
DTK-110C6APOE | CAT6A POE Surge Protection with 110 IN/ 110 OUT | 132
DTK-RM12FP | 12-Channel Rack Mount Face Plate | 122
DTK-RM12FPPLUG | Caplug for DTK-RM12FP | 8.75
DTK-WM6FP | Wall Mount 6 Channel Faceplate | 100
DTK-MRJ45C5EM | CAT5e Module for RM12FP - 4 pair - RJ45 In/Out | 67
DTK-MRJ45M12 | 12V Module for RM12FP - 4 pair - RJ45 In/Out | 53
DTK-MRJ45M24 | 24V Module for RM12FP - 4 pair - RJ45 In/Out | 53
DTK-MRJ45M36 | 36V Module for RM12FP - 4 pair - RJ45 In/Out | 53
DTK-MRJ45M48 | 48V Module for RM12FP - 4 pair - RJ45 In/Out | 53
DTK-MRJ45M75 | 75V Module for RM12FP - 4 pair - RJ45 In/Out | 53
DTK-MRJ45M130 | 130V Module for RM12FP - 4 pair - RJ45 In/Out | 53
DTK-MRJPOEM | Replacement Surge Module for RM12POE/FP, 1 Port, 4 pair, RJ45 In/Out | 66
DTK-MRJPOEBM | Replacement Surge Module for RM12POEB/FP, 1 Port, 4 pair, RJ45 In/Out | 66
DTK-VSPBNCM | Analog Video Module for RM12FP - 2.8V Clamp, BNC to BNC connections | 60
DTK-RM12C5 | 12 Port RJ45 In/110 Out, 19" Rack Mount, CAT5e | 600
DTK-RM12C5RJ | 12 Port RJ45 In/Out, 1U, 19" Rack Mount, Cat5e, Gigabit | 600
DTK-RM12C5RJM | Replacement Surge Module for RM12C5RJ | 66
DTK-RM16C5 | 16 Port RJ45 In/Out 19" Rack Mount, CAT5e | 655
DTK-RM16C5EM | Replacement Surge Module for RM16C5 | 66
Power Strips and Battery Backups
DTK-8FF | 8 Outlet Strip w/ RJ11 Modular Jack, 6' Cord | 28
DTK-BU600PLUS | 7 Outlet 600VA Battery Backup w/ RJ11 Modular Jack, 6' Cord | 153
DTK-RMAC12 | 12 Outlet Rack Mount Surge Protector, 15' Cord | 140
Power - Plug-in Wall Mount - 120V/15A
DTK-1F | Single Outlet w/ Retention Screw | 15
DTK-3GTP | 3 Outlet w/ Retention Screw andGround Termination Point | 68
Power - Hardwired Control Panel Suppressors
DTK-120SR | 120V - 20A Series Hybrid w/EMI/RFI Filtering, UL SPD Type 2 recognized component, 54kA Amps/Phase, SCCR: 10kA, 3kA (In) (Upgrade to 120SRD) | 138
DTK-120SR COVER | Insulator Cover Kit for 120SR | 8.33
DTK-120SRD | 120V-20A HARDWIRE SERIES HYBRID W/FILTER 2W+G W/DRY CONTACTS | 138
DTK-120HW | 120V - 15A Parallel Protector | 62
DTK-120/240HW | 120/240V - 15A Parallel Protector | 72
DTK-240HW | 240V - 15A Parallel Protector | 58
DTK-CMHWMOUNTSM | Small Mounting plate for HW/CM Series | 8.33
DTK-CMHWMOUNTLG | Large Mounting plate for HW/CM Series | 10.55
Power - Hardwired Industrial Branch anel Suppressors - SCCR: 100kA
D50-120/2401 | 120/240-1 VAC, 50kA, SPD Type 1, UL1449 3rd Edition Listed | 198
D50-120/240HD | 120/240-1 VAC, 50kA, SPD Type 1, UL1449 3rd Edition Listed | 198
D50-120/2083Y | 120/208-3Y VAC, 50kA, SPD Type 1 UL1449 3rd Edition Listed | 198
D50-120/240HL | 120/240-HL-D VAC, 50kA, SPD Type 1 UL1449 3rd Edition Listed | 198
D50-2401 | 240 VAC, 50kA, SPD Type 1 UL1449 3rd Edition Listed | 198
D50-240HW | 240 VAC, 50kA, SPD Type 1 UL1449 3rd Edition Listed | 198
D50-277/4803Y | 277/480-3Y VAC, 50kA, SPD Type 1 UL1449 3rd Edition Listed | 198
D50-347/6003Y | 347/600-3Y VAC, 50kA, SPD Type 1 UL1449 3rd Edition Listed | 198
D50-2403D | 240-3D VAC, 50kA, SPD Type 1 UL1449 3rd Edition Listed | 198
D50-4803D | 480-3D VAC, 50kA, SPD Type 1 UL1449 3rd Edition Listed | 198
D50-FMK | Flush-mount Kit for D50 Series | 33
Power - Hardwired Industrial Branch Panel Suppressors - SCCR: 100kA
D100-120/2083Y | 100KA/Phase 120/208 Vac 3-Phase Wye, 4 Wire (+G) | 813
D100-120/2401 | 100KA/Phase 120/240 Vac 1-Phase Wye, 3 Wire (+G) | 813
D100-120/240HL | 100KA/Phase 120/240 Vac Split-Phase Delta, High Leg | 813
D100-277/4803Y | 100KA/Phase 277/480 Vac 3-Phase Wye, 4 Wire (+G) | 813
D100-2403D | 100KA/Phase 240 Vac 3-Phase Delta, 3 Wire (+G) | 813
D100-4803D | 100KA/Phase 480 Vac 3-Phase Delta, 3 Wire (+G) | 813
D100-6003D | 100KA/Phase 600 Vac 3-Phase Delta, 3 Wire (+G) | 813
DTK-FMK | Flush-mount Kit for D100/SA/HD Series | 33
D100-FMK | Flush-mount Kit for D100 Series | 33
Power - Hardwired Industrial Branch Panel Suppressors - SCCR: 100kA
D200-120/2401 | 120/240-1 VAC, 200kA, SPD Type 1 UL1449 3rd Edition Listed | 1322
D200-120/2083Y | 120/208-3Y VAC, 200kA, SPD Type 1 UL1449 3rd Edition Listed | 1322
D200-120/240HL | 120/240-HL-D VAC, 200kA, SPD Type 1 UL1449 3rd Edition Listed | 1322
D200-277/4803Y | 277/480-3Y VAC, 200kA, SPD Type 1 UL1449 3rd Edition Listed | 1322
D200-347/6003Y | 347/600-3Y VAC, 200kA, SPD Type 1 UL1449 3rd Edition Listed | 1322
D200-2403D | 240-3D VAC, 200kA, SPD Type 1 UL1449 3rd Edition Listed | 1322
D200-4803D | 480-3D VAC, 200kA, SPD Type 1 UL1449 3rd Edition Listed | 1322
D200-6003D | 600-3D VAC, 200kA, SPD Type 1 UL1449 3rd Edition Listed | 1322
D200-FMK | Flush-mount Kit for D200 Series | 40
Power - Hardwired Arresters
DTK-120/240CM+ | 120/240V Single Phase Arrester w/ LED Diagnostics | 67
DTK-120GP | 120V Single Phase Gate Motor Surge Arrester | 67
DTK-2401CMXPLUS | 240V Single Phase Arrester w/LED Diagnostics | 67
DTK-2403CMXPLUS | 240V Three Phase Arrester w/ LED Diagnostics | 68
DTK-4803CMXPLUS | 480V Three Phase Arrester w/ LED Diagnostics | 68
DTK-6003CMXPLUS | 600V Three Phase Arrester w/ LED Diagnostics | 87
DTK-DL120 | 120V Light Pole Arrester - Single Phase | 55
DTK-DL120/240 | 120/240V Light Pole Arrester - Single Phase | 55
DTK-DL2401 | 240V Light Pole Arrester - Single Phase | 55
DTK-DL240/480 | 240/480V Light Pole Arrester - Single Phase | 55
DTK-DL277/4803 | 277/480 Light Pole Arrester - 3 Phase | 62
DTK-480LP | 480V Arrester - Single Phase | 48
DTK-HL480 | 480V Highway Lighting Surge Protector | 45
DTK-DL480 | 480V Light Pole Arrester - Single Phase - Highway Lighting | 52
Power - Hardwired Residential - 120/240V Single Phase
DTK-120/240HD2 | 120/240VAC Suppressor, 100kA, 3W+G, SPD Type 1 &2, UL1449 3rd Edition Listed | 427
DTK-120/240HD2FM | 120/240VAC Suppressor, 100kA, 3W+G, SPD Type 1 &2, UL1449 3rd Edition Listed, Flush Mount | 468
DTK-120/240SA | 120/240VAC Suppressor, 100kA, 2W+G, SPD Type 1 &2, UL1449 3rd Edition Listed | 333
DTK-120/240SAFMK | 120/240VAC Suppressor, 100kA, 2W+G, SPD Type 1 &2, UL1449 3rd Edition Listed, w/Flush Mount Kit | 375
DTK-FMK | Flush-mount Kit for D100/SA/HD Series | 33
Power - Hardwire Residential Kits
DTK-WH4PLUS | Whole House Kit (w/D50-120/240HD, VSPA, 2LVLPSCPRUV, 8FF-2each) | 366
DTK-WH4+FMK | Whole House Kit - Flush Mount (w/D50-120/240HD,VSPA, 2LVLPSCPRUV,8FF-2each) | 400
DTK-WH5PLUS | Whole House Kit (w/HD2,VSPA,2LVLPSCPRUV, 8FF-2each) | 595
DTK-WH5+FMK | Whole House Kit - Flush Mount (w/HD2FM,VSPA, 2LVLPSCPRUV, 8FF-2each) | 638
DTK-WH8PLUS | Whole House Kit (w/HD2,CM PLUS,VSPA2,2LVLPSCPRUV, 8FF-2each) | 700
DTK-WH8+FMK | Whole House Kit - Flush Mount (w/HD2FM,CM PLUS,VSPA2, 2LVLPSCPRUV, 8FF-2each) | 742
Miscellaneous Accessories
100-640 | GROUND BAR KIT 5 POSITION # 14-4 AWG | 10
124-188 | CORD RoHS 3' RJ45 MALE TO RJ45 MALE CAT5E RATED | 5
171-091 | ENCLOSURE RoHS 7 X 4 X 4 (TSS3) | 35
171-104 | ENCLOSURE RoHS NEMA 4X 240MM X 160MM X90MM W/CLEAR COVER (TSS4) | 53
171-109 | ENCLOSURE RoHS 10.43 X 7.28 X 3.74 W/CLEAR LID (TSS2) | 67
171-112M | ENCLOSURE RoHS (TSS1) | 62
DTK-B12RT | Replacement Batteries for BU450 and DRP16 Series, 12V 5AH | 38
DTK-B12RT7 | Battery Replacement for DRP16 Series, 12V 7AH | 38
DTK-DRK | Din rail Mounting Kit | 17.76