## Table of Contents
DSX Access systems Price List 2021
list price
2021 DSX access Systems Table of contents
DSX Directory
DSX Company Directory | 1
DSX Info & Terms
DSX General Contact Information | 2
Purchasing Equipment and Placing Orders | 3
Payment and Shipping Policies | 4
DSX Limited Warranty Summary and Detailed Information | 5
DSX Returns Policies & Procedures | 7
DSX Repairs Pricing and Policies | 8
Controller Additions and Upgrades Vital Information | 9
DSX Hardware & Software
1040 Series Intelligent Controller Packages | 10
1040 Series Components | 11
1040 Series Power Supply and Power Supply Components | 12
1020 Series Intelligent Controllers | 13
1020 Series Intelligent Controller Packages (Schlage) | 14
1020 Series Intelligent Controller Packages (HID) | 15
DSX Extended Hardware Warranty | 16
Communication Devices and Surge Suppression | 17
Reader / Keypad Interfaces | 18
DSX Software - Microsoft Access™ Version | 19
DSX Software - Microsoft SQL™ Version | 21
Integration Software | 23
DSX Literature and Demo Units | 24
DSX Miscellaneous Items | 25
DSX Services
Administrative Training for End User | 26
Card Evaluation & Database Manipulation Services | 26
OEM Products Including Readers, Keypads & Credentials
Schlage Readers & Smart Cards | 27
HID Readers, Keypads, Cards | 29
Farpointe Data Readers, Keypads, Cards | 35
Indala Proximity Readers & Cards | 39
Essex Keypads & Readers | 40
Mag Stripe & Barcode Readers, Photo ID Badging & Modems | 41
Integrated Locksets & DSX L-85 Software
Schlage Hardware & DSX L-85 Software | 42

## DSX Company Directory
DSX Access Systems Company Directory
800-346-5288 214-553-6140
Name | Ext. | Title | Email
Engineering
Bart Holzer | 124 | President | bholzer@dsxinc.com
Operations
Rusty Gibson | 128 | General Manager | rgibson@dsxinc.com
Lloyd Gallegos | 174 | Information Systems | lgallegos@dsxinc.com
Technical Group
Leonard Carrion | 173 | Tech Support | lcarrion@dsxinc.com
Tim Duncan | 177 | Tech Support | tduncan@dsxinc.com
Arlin Hammerstad | 118 | Tech Support | ahammerstad@dsxinc.com
Rustee Lane | 123 | Tech Support | rlane@dsxinc.com
Matthew Stebleton | 165 | Tech Support | mstebelton@dsxinc.com
Tom Smith | 172 | Training | tsmith@dsxinc.com
Production
Patrick Fields | 140 | Production | pfields@dsxinc.com
Accounting / Order Entry / RMAs
Marty Monroe | 141 | Controller | mmonroe@dsxinc.com
Tony Henderson | 175 | Accounting | thenderson@dsxinc.com
Carrie Gurr | 125 | Purchasing | cgurr@dsxinc.com
Carl Melder | 129 | Order Entry | orders@dsxinc.com
Tina Meadows | 180 | RMAs | repairs@dsxinc.com

## Info & Terms
DSX Access Systems, Inc Contact Information
Shipping Address | DSX Access Systems, Inc. 10731 Rockwall Road Dallas, Texas 75238
Mailing Address | DSX Access Systems, Inc. PO BOX 550909 Dallas, Texas 75355-0909
Phone Numbers & Extensions | Local: | 214-553-6140
| Toll Free: | 800-346-5288
| Technical Support | PRESS 2
| Orders / Shipping Pricing / Availability | PRESS 3
| Dealer Information & Marketing | PRESS 4
| Accounting | PRESS 5
| Directory | PRESS 8
General Emails | ALL ORDERS | orders@dsxinc.com
| Technical Support | dsxtech@dsxinc.com
| Sales | sales@dsxinc.com
| Product Development | bholzer@dsxinc.com
| Repairs / Returns | repairs@dsxinc.com
Website | www.dsxinc.com
DSX Commitment to Service
Our Commitment to service is continually demonstrated through our technical support line that is available 24 hours a day, 365 days a year. DSX does not charge dealers for technical support regardless of the time of day or night. Normal hours are 8 am to 5 pm Central Standard Time Monday through Friday. Emergency Technical Support is available outside normal support hours for DSX Dealers only. Our Technical Staff consists of engineers with field installation and service experience who are always ready to answer your questions. By providing both educational classes free of charge to our dealers and a staff with years of security experience, DSX is able to offer valuable insight into the complex issues that face the security contractor installing DSX equipment. The DSX Commitment to Service is unmatched in the Security Industry.
Purchasing Equipment & Placing Orders
*Purchase Orders will only be accepted from companies with a current signed Product Sales Agreement on file. All Purchase Orders are governed by the rules defined in the Product Sales Agreement executed between DSX Access Systems, Inc and the company issuing the purchase order.
*All prices are subject to change and prices in effect on the date of shipment will apply. Prices apply to standard domestic packaging. Errors and omissions in pricing are subject to correction by DSX.
NO Verbal Purchase Orders will be accepted. ALL Purchase Orders must be submitted in writing to orders@dsxinc.com Any cancellations must also be in writing and include the original Purchase Order Number All merchandise returned for credit must be approved in writing by DSX in advance of the return. A minimum restocking fee of 20% will be assessed on all returns.
Acknowledgements are emailed when the order is entered in the system if a valid email address is provided. If no Acknowledgement is received within 24 hours, please follow up on the status of the order via phone or email.
DSX Access Systems, Inc. will make every effort to ship orders in a timely manner, but DSX Access Systems, Inc will not be liable for delays or losses for any reason or in any manner whatsoever.
Unless otherwise specified, partial orders will be shipped with the remainder on a back order status. Orders will not be held to ship complete unless specified on the purchase order. DSX is not responsible for freight charges on any product that has been placed on back order and shipped later than the initial order shipment.
A processing/handling fee may be assessed to any order that is shipped on the dealers' own account number or with the dealers' own freight forwarding company. The amount is based on the size, weight and extra paperwork required to be filled out. International Shipments will incur processing/handling fees.
Orders for Cards and/or Readers that are not normal inventory stock and considered Special Order CANNOT be canceled or returned.
Please refer to your Product Sales Agreement to view the different discount levels available to DSX Dealers.
Payment Policy
Standard Terms are Net 30 Days from the Date of the Invoice.
End User Name and Address (site where equipment will be installed) will be required on orders exceeding Dealers' Credit Limit.
Orders will not be processed on accounts with past due balances.
Past Due Invoices & Late Fees: - Invoices over 45 days past due are subject to be assessed a minimum late processing fee of $35 per each invoice. - Late Charges will be assessed on Past Due Invoices at 18% per annum.
Any account that exceeds 45 days is subject to: 1. Account change to C.O.D. terms 2. Late Charges and fees
Six (6) months of inactivity on an account will result in payment terms changing to C.O.D.
C.O.D. Accounts require payment by Certified Check, Money Order or Wire Transfer. All Bank Charges are the Dealer's responsibility and payment must be made in U.S Dollars.
DSX will periodically review payment history and may adjust Credit Limit and Terms accordingly.
Prepayment is required on all C.O.D. accounts
Prepayment for End User attendance at DSX Training Class must be received 14 days prior to class start date. DSX Dealer attendance at DSX Training class is provided at no charge to Dealers.
Shipping Policies
All shipments will be sent via Fed-Ex or UPS at the discretion of DSX unless the Purchase Order directs which service to use.
All claims for damages against shipping agencies are between the dealer and the shipping agency, not DSX Access Systems, Inc
Goods must be inspected promptly. Claims relating to non-conformity of goods or shipments must be reported within 10 business days following receipt of goods. All notices and claims must include Purchase Order Number and DSX Invoice Number. Unless written notice of non-conformity is given within such 10-day period, the claim may be disregarded.
All Duties, Taxes and applicable Bank Fees for International Shipments are the responsibility of the Dealer.
All International Shipments will have a minimum Handling Fee of $50.00 due to additional paperwork.
DSX only ships products to authorized DSX dealer locations registered in our database.
DSX Access Systems Limited Warranty Summary
Regarding warranties of DSX manufactured equipment sold, or software licensed (collectively, "Products"); DSX Access Systems, Inc. provides the following: 1. DSX manufactured Products have a two year limited warranty. 2. DSX honors equipment warranties only on equipment purchased, installed and serviced by current certified & authorized DSX Dealers. DSX does not provide tech support or honor warranties on equipment installed by unauthorized dealers. 3. Equipment warranties are voided when DSX equipment is damaged by unauthorized installers and/or improper installation or DSX equipment occurs.
Product Installation or Service by an unauthorized DSX Dealer shall void all product warranty.
Detailed information provided on following page.
DSX Access Systems Limited Warranty Detailed Information
With respect to any Products, or part thereof, manufactured by DSX, DSX warrants that for a period of two (2) years after the date of shipment, such Products shall be free of any material defects and shall perform substantially in accordance with DSX's specifications therefore. The sole obligation of DSX for any breach of warranty shall be, at its option, either (i) to repair or replace at its expense any such materially defective Products manufactured by it, or (ii) to take back such Products and refund DEALER the purchase price paid for the same. DEALER shall pay all freight, duty, brokers fees, insurance charges and other fees and charges for the return of any Products to DSX under this warranty. DSX shall pay freight and insurance charges for any repaired or replaced Products thereafter delivered to DEALER within the United States. DEALER shall pay all fees and costs for shipment outside of the United States. The foregoing warranty shall not apply to any software licensed hereunder or to any Products that have been subject to abuse, misuse, vandalism, accident, alteration, neglect, unauthorized repair or improper installation. Any Products, or part thereof, manufactured by third parties shall not be warranted by DSX; however, DSX shall transfer to DEALER (to the extent transferable) any third party manufacturers' warranties regarding such Products. Products listed in the DSX Price Guide that have a part number that does not begin with a "DSX" prefix are considered third party manufacturer's product.
THERE ARE NO WARRANTIES BY DSX EXCEPT AS STATED HEREIN. THERE ARE NO OTHER WARRANTIES EXPRESSED OR IMPLIED INCLUDING, BUT NOT LIMITED TO, (I) THE IMPLIED WARRANTIES OF MERCHANGABILITY, FITNESS FOR A PARTICULAR PURPOSE, PERFORMANCE SUITABILITY OR NON-INFRINGEMENT; (II) RELATING TO THIRD-PARTY PRODUCTS, SOFTWARE OR SERVICES; (III) THE PERFORMANCE OF OR RESULTS TO BE OBTAINED FROM THE PRODUCTS; OR (IV) THE PRODUCTS WILL BE PROVIDED WITHOUT INTERRUPTION OR ERROR. IN NO EVENT SHALL DSX BE LIABLE FOR CONSEQUENTIAL, INCIDENTAL, PUNITIVE OR SPECIAL DAMAGES INCLUDING BUT NOT LIMITED TO, DAMAGES FOR LOSS OF DATA, PROFITS, OR GOODWILL. DSX'S MAXIMUM LIABILITY FOR ANY BREACH OF THIS AGREEMENT OR OTHER CLAIM RELATED TO ANY PRODUCTS, SOFTWARE, OR THE SUBJECT MATTER HEREOF, SHALL NOT EXCEED THE PURCHASE PRICE OR LICENSE FEE PAID BY THE DEALER TO DSX FOR THE PRODUCTS OR PORTION THEREOF TO WHICH SUCH BREACH OR CLAIM PERTAINS. THESE LIMITATIONS, EXCLUSIONS AND DISCLAIMERS SHALL APPLY TO ALL CLAIMS FOR DAMAGES WHETHER BASED IN CONTRACT, WARRANTY, STRICT LIABILITY, NEGLIGENCE, TORT OR OTHERWISE. THE PARTIES AGREE THAT THESE LIMITATION OF LIABILITY ARE AGREED ALLOCATIONS OF RISK AND SUCH LIMITATIONS WILL APPLY NOTWITHSTANDING THE FAILURE OF ESSENTIAL PURPOSE OF ANY LIMITED REMEDY.
DSX Returns Policies & Procedures
RMA's: All merchandise returned for any reason must have an RMA (Return Merchandise Authorization) number. Contact DSX Access Systems Customer Service at 1-214-553-6140 Extension 180 or at repairs@dsxinc.com for an RMA number. All products should be accompanied by a written Purchase Order. *RMA's are automatically cancelled if the product isn't returned to DSX within 30 days. All goods returned must have the RMA number plainly marked on the outside of the shipping container. Otherwise it will be returned to the sender unopened. Equipment not assigned an RMA will be returned to the sender
Special Order: Cards and/or Readers that are not normal inventory stock are considered a Special Order and cannot be returned.
Freight: All goods returned to DSX Access Systems must be freight prepaid. Goods returned for service under warranty are returned to the Dealer freight prepaid. If faster return shipping service is requested, the Dealer will be accountable for all costs of the expedited shipping service requested. An approved written Purchase Order for Expedited Shipping must accompany the request.
Advance Replacements are only permitted on DSX manufactured equipment within 60 days of purchase. If the 60 day window has expired, DSX equipment will be issued an RMA number and must be returned for repair. *Original Product must be returned within 30 days of replacement being shipped or restock fees will apply. Spares are the responsibility of the Dealer and/or ultimately the Customer.
If a product is to be Advance Replaced, DSX will send an "Advanced Replacement Form" to the dealer after an RMA # has been issued. The form must be filled out completely, including the serial number and/or date code for the item to be replaced and sent back to DSX to begin the process. If faster than normal shipping service is requested, the sender will be accountable for all costs of the expedited shipping service. No additional purchase order is necessary. An invoice is created on all Advance Replacements. Credit is issued upon return of equipment.
Advance Replacements are not provided on non-DSX manufactured products. Non-DSX manufactured products are repaired or replaced by the manufacturer and returned to customer. No credit is given for non-DSX manufactured products.
Returns: All merchandise returned for credit must be approved in advance in writing. A minimum restocking fee will be assessed. *Proms and RAM cannot be returned for credit. Each product return is considered on a case-by-case basis depending on date of purchase and Warranty coverage. Product being returned must be in original packaging and both product and packaging must be in like new condition.
Restocking Fees: Products returned after 120 days will not be credited.
< 30 Days | 20%
31-60 Days | 25%
61-90 Days | 30%
91-120 Days | 50%
> 120 Days | 100%
Repairs
Product repair fees are NOT discounted and NOT shown in the price list. Repairs are charged directly to Dealers.
Pricing
DSX Controllers (I/O and/or Processors) |  | Contact DSX for Pricing
1035 /1036 / 220TX-RX / OX4
DS400 modules / 232mux / 485T / PDM / CDM / FRB8 / LAN-D
DP485 / DP232 / MCI / USB- are not practical to repair. These devices are replaced if they are in warranty. Out of warranty or warranty void units must be replaced at Dealer's expense.
"No Problem Found" (NPF) Repairs
To correctly diagnose the product, it is necessary to inform DSX of the exact nature of the problem. Due to the extreme flexibility of the product, it cannot be tested under every condition for every application. "No Problem Found" Fees are applicable where there is no information provided and the product passes normal test procedures.
Freight: Dealer will be responsible for all freight charges if any repairs sent to DSX result in a "No Problem Found" condition.
Shipping: Controllers must be shipped without enclosures unless instructed to do so by DSX
Fees: No Problem Found Fees carry the following charges
All DSX Manufactured Products |  | 25
Other Vendor Products (OVP) |  | Original Manufacturer Fee
Warranty:
Repairs on DSX Product that is OUT of original warranty repaired by DSX carries an additional 90 day warranty.
Repairs on DSX Product that is IN warranty when repaired has a 90 day warranty or the remainder of its original warranty, whichever is longer
Controller Additions and Upgrades Vital Information
There are several issues to be aware of when adding to existing systems. Items such as Controller Memory and Firmware Versions need to be reviewed. Upgrades and Update information can also be found at our website at: http://www.dsxinc.com/UpdatesandUpgrades.htm
Call DSX Technical Support at 800-346-5288 for any questions about expansion and compatibility. As an Authorized Dealer, if you are going to add on to an existing system and have questions about the expansion and compatibility, the DSX Technical Support team is here to help at no expense to you, but could save you a great deal of time and expense. Information Needed for Consultation: If possible call from the Job Site. There are several things that need to be reviewed in the software. If you cannot call from the site, please obtain the following information before you call: 1. In the DataBase program, look at Help/About WinDSX and document the software version 2. In the Workstation program, select Devices. On the first device, right click and select "Device Summary". Perform a print screen if possible or document what you see. On the first device again, right click and select "Memory Layout Summary" and again perform a print screen or document what you see. This information will allow the DSX Technician what the current memory requirements are for the existing controllers. With this information, the amount of memory required to accommodate the addition of new controllers can be calculated. The memory calculation can be done by DSX Technical Support. There is also a Calcmem program provided on the WinDSX software Flash Drive.
Memory Parameters: 1030 Series Controllers- 64K of RAM standard expandable to 192K with 32K memory chips. 1030PR5 replacement processors will upgrade 1030 series controllers to 512K of RAM with Flash ROM 1021 Controller- 64K of RAM expandable to 96K with 32K memory chip. 1040 Series and 1022 Controllers- 512K of RAM

## DSX Hardware & Software
DSX Part Number | 1040 Series Intelligent Controller Packages | List Price
Note/// Packages contain all components required to provide a complete controller with the exception of lock power.
Lock Power is ordered separately. See Page 12 for pricing.
DSX-1042PKG | Intelligent 2 Door Package 1 - 1040E Enclosure 1 - 1042 Controller 1 - 1040 CDM Communication Distribution Module 1 - 1040 PDP Power Distribution Panel Up to 3 additional Controllers can be added to package (any combination of 1042, 1043 or 1044 Controllers can be used) Lock Power Module Sold Separately | 1655
DSX-1042PKGNV | NV (Nonvolatile Memory Processor) PKG with a 1042NV Controller board | 1875
DSX-1043PKG | Intelligent Output Package 1 - 1040E Enclosure 1 - 1040 CDM Communication Distribution Module 1 - 1040 PDP Power Distribution Panel Up to three additional Controllers can be added to package (any combination of 1042, 1043, or 1044 Controllers can be used) Lock Power Module Sold Separately | 1455
DSX-1043PKGNV | NV (Nonvolatile Memory Processor) PKG with a 1043NV Controller board | 1675
DSX-1044PKG | Intelligent Input Package 1 - 1040E Enclosure 1 - 1044 Controller 1 - 1040CDM Communication Distribution Module 1 - 1040PDP Power Distribution Panel Up to three additional Controllers may be added to package (any combination of 1042,1043 or 1044 Controllers may be used) Lock Power Module Sold Separately | 1455
DSX-1044PKGNV | NV (Nonvolatile Memory Processor) PKG with a 1044NV Controller board | 1675
DSX-1048PKG | Intelligent 8 Door Package 1 - 1040E Enclosure 4 - 1042 Controllers 1 -1040 CDM Communication Distribution Module 1 - 1040 PDP Power Distribution Panel Lock Power Module Sold Separately | 4300
DSX-1048PKGNV | NV (Nonvolatile Memory Processor) All Four are 1042NV Controller boards | 5185
DSX-1048PKGNVMC | NVMC (Nonvolatile Memory Processor) 1042NV Master Control Board only. | 4525
NV - Non-Volatile Memory Processor The NV Processor can be placed on any Master Controller and/or Slave controller board (including 1042, 1043, 1044, 1022, 1020 and 1030PR5)
0.55
0.57
The above DSX Manufactured Products have a 2-Year Warranty!
DSX Part Number | DSX-1040 Series Components | List Price
Each of the Controllers below can be added to the 1042, 1043 & 1044 Packages. The Enclosure and 1040 CDM is shipped with all of the Controller Packages but can be purchased separately.
DSX-1042 | Intelligent Two Door I/O Controller (up to 4 per 1040E) 8 Inputs 2 Relay Outputs 2 Open Collector Outputs 2 Reader Ports | 1040
DSX-1042NV | NV (Nonvolatile Memory Processor) on 1042 Controller board | 1255
DSX-1043 | Intelligent I/O Controller (up to 4 per 1040E) 2 Inputs 16 Relay Outputs | 830
DSX-1043NV | NV (Nonvolatile Memory Processor) on 1043 Controller board | 1050
DSX-1044 | Intelligent I/O Controller (up to 4 per 1040E) 32 Inputs 4 Open Collector Outputs | 830
DSX-1044NV | NV (Nonvolatile Memory Processor) on 1044 Controller board | 1050
DSX-1040E | Six -Slot Equipment Enclosure with Lock/Key. Accepts four 1040 series Controllers and one 1040CDM, with one expansion slot | 225
DSX-1040E Mounting Rails | Controller Mounting Rail(s) Can be used to mount 1040 series products in other enclosures Price shown is per rail | 19
DSX-1040CDM | Communications Distribution Module 1 required for each 1040E | 260
DSX-FRB8 | Fused Relay Board Provides 8 Form-C relay outputs fused at 1A. Each relay has a 1A fuse in line with the common terminal. The module requires a constant +12V and a switched negative for activation of each relay. Connects to the open collector 2nd ouputs of the 1042/1044 and mounts in the expansion slot of the 1040E enclosure | 220
DSX-1040P | Removable Processor Board | 390
DSX-1040PNV | DSX-1040 Non Volatile Memory (NV) Processor **Refer Below | 500
NV - Non-Volatile Memory Processor The NV Processor can be placed on any Master Controller and/or Slave controller board (including 1042, 1043, 1044, 1022, 1020 and 1030PR5)
The above DSX Manufactured Products have a 2-Year Warranty!
DSX Part Number | DSX-1040 Series Power Supply & Power Supply Components | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
Lock Power Supplies (LPS)
Notice: To provide lock power, each package listed on the previous page requires one of the power supplies listed here
DSX-RWS150/15 | LPS 110VAC to 15V DC10A, 150 Watt LPS for 12V Locks | 168
DSX-RWS150/28 | LPS 110VAC to 28V DC5.4A, 150 Watt LPS for 24V Locks | 175
DSX-RWS300B/28 | LPS 110VAC to 27V DC11A, 320 Watt LPS for 24V Locks | 335
Power Supply and Components
All Controller Packages include the DSX-1040PDP listed below, however the 1040 PDP can be purchased separately
DSX-1040PDP | Power Distribution Panel 1 - 1040 PE Enclosure 1 - RWS150 15V Power Supply 1 - 1040 PDM Power Distribution Module 1 - Exhaust Fan Lock Power Module is ordered separately Backup Batteries are sold separately for Controller Power & optionally for Lock Power | 625
DSX-1040PE | Power Distribution Panel Enclosure | 168
DSX-1040PE-B | Battery Enclosure. Holds 9 – 12V 7AH Batteries (not included) | 168
DSX-1040PE Fan | Panel Enclosure DC Fan (Use same part # for DSX-1022E) | 13
DSX-1040PE Fan Guard | Panel Enclosure Fan Guard (Use same part # for DSX-1022E) | 3
DSX-1040PDM | Power Distribution Module - New & Improved Dual lock power with precision outputs. Simultaneously supports 12 & 24 Volt locks. | 360
DSX-RWS150/15 | 15V, 10A, 150 Watt Power Supply for Panel Power | 168
The above DSX manufactured products have a 2-Year Warranty!
DSX Part Number | DSX-1020 Series Intelligent Controllers | List Price
Note/// All Controllers ship with enclosures except where noted. All Controllers listed here require a 16.5 40VA Transformer AND a 12V 7AH Battery. Transformers & Batteries are sold separately
Single Door Controller
DSX-1020 | Intelligent Single Door Controller 8 Inputs / 2 Relay Outputs / 1 Reader Port | 965
DSX-1020NV | NV (Nonvolatile Memory Processor) 1020 Controller board included. | 1185
DSX-1020-1 | Controller and shield / no enclosure | 925
DSX-1020-1NV | NV (Nonvolatile Memory Processor) 1020 Controller board included. | 1145
Two Door Controller
DSX-1022 | Intelligent Two Door I/O Controller 8 Inputs 4 Relay Outputs 2 Reader Ports | 1190
DSX-1022NV | NV (Nonvolatile Memory Processor) 1022 Controller board included. | 1410
DSX-1022-1 | Controller and shield / no enclosure | 1145
DSX-1022E | DSX 1022 Enclosure (controllers ship with enclosures) | 155
DSX-1022-1NV | NV (Nonvolatile Memory Processor) 1022 Controller board included. | 1345
DSX-1022-1 Retro Fit | Controller and shield / no enclosure. Replaces DSX-1021. Comes with Hardware and Instructions on how to mount 1022 Controller in existing 1021 Enclosure. | 1145
DSX-1022-1NV Retro Fit | Controller, NV Controller and shield / no enclosure. Replaces DSX-1021NV. Comes with Hardware and Instructions on how to mount 1022 Controller in existing 1021 Enclosure.NV (Nonvolatile Memory Processor) 1022NV Controller board included. | 1365
NV - Non-Volatile Memory Processor The NV Processor can be placed on any Master Controller and/or Slave controller board (including 1042, 1043, 1044, 1022, 1020 and 1030 PR5)
The above DSX manufactured products have a 2-Year Warranty !
DSX Part Number | DSX-1020 Series Intelligent Controllers Packages | List Price
Note/// All Controllers ship with enclosures except where noted. All Controllers listed here require a 16.5 40V Transformer and a 12V 7AH Battery. Battery sold Separately.
IMPORTANT: Applies to ALL 1022 Starter Packages: 1) Battery NOT included. 2) No Substitutions or Changes 3) Not a DSX Dealer Discount Item. OVP Discounts ONLY |  | 125kHz readers & credentials discontinued. Replaced with 13.56 MHz
1022PKG | Intelligent 2-Door Controller Starter Package 1 - DSX-1022 Controller - 8 Inputs / 4 Relay Outputs / 2 Reader Ports 2 - Schlage SM-10 Smart Card Readers 50 - XD-9420 33-bit Smart Cards 1 - DSX-USB 1 - WinStart 1 - 16.5 VAC 40VA Transformer | 1655
1022PKGNV | Intelligent 2-Door NV-Controller Starter Package 1022PKG as described above PLUS NV (Non-volatile Memory Processor) included on 1022 Controller board | 1675
1022PKG-FOB | Intelligent Two Door Controller Starter Package (with 50 FOBs) 1 - DSX-1022 Controller - 8 Inputs / 4 Relay Outputs / 2 Reader Ports 2 - Schlage SM-10 Smart Card Readers 50 - XD-9651 33-bit FOBS 1 - DSX-USB 1 - WinStart 1 - 16.5 VAC 40VA Transformer | 1810
1022PKGNV-FOB | Intelligent 2-Door NV-Controller Starter Package with FOBs 1022PKG-FOB as described above PLUS NV (Nonvolatile Memory Processor) included on 1022-Controller board | 2030
1022LANPKG | Intelligent 2-Door Controller Starter Package with DSX-LAN 1 - DSX-1022 Controller - 8 Inputs / 4 Relay Outputs / 2 Reader Ports 2 - Schlage SM-10 Smart Card Readers 50 - XD-9420 33-bit Smart Cards 1 - DSX-LAN 1 - WinStart 1 - 16.5 VAC 40VA Transformer | 1655
1022NVLANPKG | Intelligent 2-Door NV Controller Starter Package with DSX-LAN 1022LANPKG as described above PLUS NV (Nonvolatile Memory Processor) included on 1022-Controller board | 1875
1022LANPKG-FOB | Intelligent 2-Door Controller Starter Package with DSX-LAN & FOBs 1 - DSX-1022 Controller - 8 Inputs / 4 Relay Outputs / 2 Reader Ports 2 - Schlage SM-10 Smart Card Readers 50 - XD-9651 33-bit FOBS 1 - DSX-LAN 1 - WinStart 1 - 16.5 VAC 40VA Transformer | 1810
DSX Products Part Number | DSX-1020 Series Intelligent Controllers Packages (HID) | List Price
Note/// All Controllers ship with enclosures except where noted. All Controllers listed here require a 16.5 40VA Transformer and a 12V 7AH Battery. Batteries are sold separately.
1022NVLANPKG-FOB | Intelligent 2-Door NV-Controller Starter Package with DSX-LAN & FOBs 1022LANPKG-FOB as described above PLUS NV (Nonvolatile Memory Processor) included on 1022 Controller board | 2030
1022PKG-HID | Intelligent 2-Door Controller Starter Package 1 - DSX-1022 Controller w/8 Inputs/4 Relay Outputs/2 Reader Ports 2 - HID 900P Multi-Tech Readers 50 - HID iClass 2080 33-bit Smart Cards 1 - DSX-USB 1 - WinStart 1 - 16.5 VAC 40VA Transformer | 1695
1022PKGNV-HID | Intelligent 2-Door NV-Controller Starter Package 1022PKG-HID as described above PLUS NV (Nonvolatile Memory Processor included on 1022 Controller board | 1915
1022PKG-FOB-HID | Intelligent 2-Door Controller Starter Package (with 50 FOBs) 1 - DSX-1022 Controller w/8 Inputs/4 Relay Outputs/2 Reader Ports 2 - HID 900P Multi-Tech Readers 50 - HID iClass 2050 33-bit Smart Key FOB 1 - DSX-USB 1 - WinStart 1 - 16.5 VAC 40VA Transformer | 1840
1022PKGNV-FOB-HID | Intelligent 2- Door NV Controller Starter Package with FOBs 1022PKG-FOB-HID as described above PLUS NV (Nonvolatile Memory Processor) included on 1022-Controller board | 2060
1022LANPKG-HID | Intelligent 2-Door Controller Starter Package with DSX-LAN 1 - DSX-1022 Controller w/8 Inputs/4 Relay Outputs/2 Reader Ports 2 - HID 900P Multi-Tech Readers 50 - HID iClass 2080 33-bit Smart Cards 1 - DSXLAN 1 - WinStart 1 - 16.5 VAC 40VA Transformer | 1695
1022NVLANPKG-HID | Intelligent 2-Door NV-Controller Starter Package with DSX-LAN 1022LANPKG-HID as described above PLUS NV (Nonvolatile Memory Processor) included on 1022-Controller board | 1915
1022LANPKG-FOB-HID | Intelligent 2-Door Controller Starter Pack with DSX-LAN & FOBs 1- DSX-1022 Controller w/8 Inputs/4 Relay Outputs/2 Reader Ports 2 - HID 900P Multi-Tech Readers 50 - HID iClass 2050 33 bit Smart Key FOB 1 - DSX-LAN 1 - WinStart 1 - 16.5 VAC 40VA Transformer | 1840
1022NVLANPKG- FOB-HID | Intelligent 2-Door NV Controller Starter Pack with DSX-LAN & FOBs 1022LANPKG-FOB-HID as described above PLUS NV (Nonvolatile Memory Processor) included on 1022-Controller board | 2060
DSX Part Number | DSX Extended Hardware Warranty | List Price
DSX now offers an Extended Warranty for its Hardware. This Extended Warranty expands on the Standard DSX Warranty to include Advanced Replacements and non-weekend Overnight Freight.
* A 3 year extended warranty can be purchased when the equipment is first purchased adding 3 additional years to the 2 year factory warranty rendering a full 5 Year Warranty. ** A 5 year extended warranty can be sold at a later time for existing equipment.
Extended Warranties are sold and billed through the DSX Dealer and standard discounts apply. Extended Warranties are only sold on equipment purchased, to be installed or installed and operating in the Domestic United States.
Other peripherals including readers and cards are not eligible.
The 3 Year add on Warranty must be ordered and billed when the equipment is purchased.
DSX-1042EXTW | 3 Year Extended Warranty for New Systems | 225
DSX-1022EXTW | 3 Year Extended Warranty for New Systems | 225
DSX-1043EXTW | 3 Year Extended Warranty for New Systems | 225
DSX-1044EXTW | 3 Year Extended Warranty for New Systems | 225
DSX-CDMEXTW | 3 Year Extended Warranty for New Systems | 135
DSX-PDMEXTW | 3 Year Extended Warranty for New Systems | 135
DSX-LANEXTW | 3 Year Extended Warranty for New Systems | 135
Other peripherals including readers and cards are not eligible.
Extended Warranties can be ordered for existing systems but come with a requirement that the Buyer must include the existing serial numbers of the controllers and modules and MAC addresses of LAN interfaces being warranted when the order is placed.
The 5 Year Extended Warranty for Existing Systems:
DSX-1042EXTW | 5 Year Extended Warranty for Existing Systems | 375
DSX-1022EXTW | 5 Year Extended Warranty for Existing Systems | 375
DSX-1043EXTW | 5 Year Extended Warranty for Existing Systems | 375
DSX-1044EXTW | 5 Year Extended Warranty for Existing Systems | 375
DSX-CDMEXTW | 5 Year Extended Warranty for Existing Systems | 225
DSX-PDMEXTW | 5 Year Extended Warranty for Existing Systems | 225
DSX-LANEXTW | 5 Year Extended Warranty for Existing Systems | 225
Other peripherals including readers and cards are not eligible.
DSX Part Number | Communication Devices and Suppression | List Price
Controller Communication Devices:
DSX-USB | Single Channel USB to RS-232/485 1 - Communications Interface with removable terminal blocks 1 - 36 inch USB cable | 195
DSX-1035 | Quadraplexor 4 Channel RS-485 Mux/Repeater | 385
DSX-MUX | 6 Channel RS-232 Communications Mux | 385
DSX-MCI | Single Channel RS-232 to RS-485 Converter | 150
DSX-485T | 2 Channel RS-485 Mux/Repeater Used to mix old and new style panels on the same communications circuit. Converts the RS-422 from an original DSX-1032 Controller to the current RS-485 regenerative style of communications. One per old style controller | 295
DSX LAN-D Serial Servers:
DSX-LAN-D | The DSX-LAN module is used to provide Local or Wide Area Network Communications between the Comm Server PC and the Master Controller. The DSX-LAN can also be used with a Slave Controller or a cluster of Slave Controllers with the use of the DSX-IP-HUB at the Master Controller. The IP-HUB is an appliance that routes Slave Panel Communications to LAN modules installed at Slave Controllers | 345
DSX-IP-HUB | The DSX-IP-HUB is a module that connects to the Master Controller and to the Network which allows Slave Controller Communication to be routed via IP through the network to standard DSX-LAN modules connected to Slave Controllers or clusters of Slave Controllers. | 345
NEW! DSX-CRT Modules
DSX-CRT2 | The DSX-CRT can receive an IP packet over the customers network and translate it to a Wiegand card read or a pulsed output. The CRT is a gateway for other systems such as Visitor management, Facial Recognition, Temp and Mask Verification, Parking, or other applications to send a Card Read/Access request or input event such as an alarm. Works with any Access Control System. CRT2 = 2 Reader Ports and 4 Open Collector Outputs | 400
DSX-CRT4 | The DSX-CRT can receive an IP packet over the customers network and translate it to a Wiegand card read or a pulsed output. The CRT is a gateway for other systems such as Visitor management, Facial Recognition, Temp and Mask Verification, Parking, or other applications to send a Card Read/Access request or input event such as an alarm. Works with any Access Control System. CRT4 = 4 Reader Ports and 8 Open Collector Outputs | 525
DSX Part Number | Modems, Surge Suppressors and Filters Reader / Keypad Interfaces | List Price
Surge Suppressers and Filters
DSX-DP232 | RS-232 Data Surge Protection Module - Single unit price (each) NOTE: Used in pairs | 168
DSX-DP485 | RS-485 Data Surge Protection Module - Single unit price (each) NOTE: Used in pairs | 168
DSX-220 | Card Reader Cable Noise Filter Signal Booster TX & RX module come as a set (1 set per reader) Requires 12V 40VA Transformer | 585
DSX-400DM | Duress Module for 8 bit Wiegand keypads 1 keypad | 168
DSX-400DL | Door Latch Module 1 controlled door | 168
Reader Interfaces
DSX-RKM | ReadyKey/PAC Reader Interface 2 readers | 168
The above DSX manufactured products have a 2-Year Warranty !
DSX Part Number | DSX Software - Microsoft Access™ Version | List Price
Microsoft Access™ Version of DSX Software
WinStart (For New Systems & Upgrades) | WinDSX for Windows 10 Pro and Server 2012 and above Starter/Update Kit includes: 1-WinDSX Software Flash Drive This version uses Microsoft Access™ for the Database engine | 400
WinDSX Software uses DSX Soft Key as the Software Site License
Advanced Features Included in DSX Software Microsoft Access™ Version
DSX Mobile Command | DSX Mobile Command for Smart Phones DSX brings the power of the DSX Workstation program to the convenience of a Smart Phone. This Smart Phone application enhances the daily operation of the DSX System. The Mobile Command feature allows the activation of custom, pre-defined commands, the locking / unlocking of doors, control of alarm points, and the monitoring of system events from a mobile but secure application. Apple™ and Android™ compatible. | - Included with Software -
DSX-AES256 | AES256 Communication Encryption FIPS 197 Certified AES-256 bit Encryption can be implemented between the Comm Server and the Workstation PCs and between the Comm Server and the Intelligent Controllers. | - Included with Software -
Important >> | Requires: 1. Firmware Version 3181 or higher in the DSX Controllers. 2. DSXKeyData.XML file to be modified. Contact tech support. 3. Call Technical Support for help in activating this feature.
DVR Integration | Digital Video Recorder Integration WinDSX has the ability to integrate with multiple DVR and NVR products. This integration allows stored and live video from the DVR/NVR to be accessed within the DSX software. All video is transmitted across a Local Area Network connection. The drivers available from DSX will be on Software Flash Drive. Most drivers must be obtained from the DVR manufacturer. For available and pending drivers, call DSX Technical Support or check the website at this location: http://www.dsxinc.com/partners.htm | - Included with Software -
PC Master | Communications Software Router Allows for LAN Communications to each Slave or cluster of Slave Controllers instead of just the Master Controller. This is NOT required for typical PC to Master Controller communications using TCP/IP and a DSX-LAN module. | - Included with Software -
DSX Part Number | DSX Software - Microsoft Access™ Version | List Price
Optional Add On Features to Microsoft Access™ Version of DSX Software
Export Names | Card Holder Data Export This program will export Card Holder data in a separate text file for each location group. Each file will be located in the same directory that this program is run from and will be named Names#.txt. The # sign will be the location group number. The fields are tab separated and the first line is the name of each field. Feature is compatible with Microsoft Access™ and SQL™ versions of WinDSX | 700
SoftKeyMod | Soft Key Modification For a Soft Key License change, typically due to a Domain name or Server name change, the following is required from the DSX Dealer: REQUIRED BY DSX: 1) Purchase Order from Dealer for part number "SoftkeyMod" 2) New PC or Domain name through one of the following methods that show the proper information: a) From CMD Prompt type: ipconfig/all>c:\windsx\dsxkey.txt ***Send the dsxkey.txt file*** b) Windows Screenshot showing Computer and Domain name. 3) Copy of DSXKeyData.xml from the WinDSX folder on the Comm Server Please send file / information and PO to: orders@dsxinc.com | 150
DSX Part Number | DSX Software - Microsoft SQL™ Version | List Price
Microsoft SQL™ Version of DSX Software
WinStartSQL is for New Installations or when upgrading from DSX Microsoft Access Software or WinStart SQL Versions 4.8 or lower.
WinStartSQL | WinDSX for Microsoft SQL Server Starter Kit includes: 1-WinDSX SQL Software Flash Drive NOTE: 1) Does not include Microsoft SQL Server™ 2) Used for a new system and for WinDSX Microsoft Access™ to Microsoft SQL Server™ upgrades. | 2500
This product requires advanced configuration. The Dealer or End User must have a Microsoft SQL Server Administrator to install, configure, and maintain the SQL Server on site.
WinDSXSQL-Upgrade is ONLY for SQL to SQL Upgrades currently using Version 4.9 or higher
WinDSXSQL-Upgrade | WinDSXSQL Upgrade Software Upgrade includes: 1 WinDSX SQL Software Flash Drive | 1450
WinDSX Software uses DSX Soft Key as the Software Site License
Advanced Features Included in DSX Software Microsoft SQL™ Version
DSX Mobile Command | DSX Mobile Command for Smart Phones DSX brings the power of the DSX Workstation program to the convenience of a Smart Phone. This Smart Phone application enhances the daily operation of the DSX System. The Mobile Command feature allows the activation of custom, pre-defined commands, the locking / unlocking of doors, control of alarm points, and the monitoring of system events from a mobile but secure application. Apple™ and Android™ compatible. | - Included with Software -
DSX-AES256 | AES256 Communication Encryption FIPS 197 Certified AES-256 bit Encryption can be implemented between the Comm Server and the Workstation PCs and between the Comm Server and the Intelligent Controllers. IMPORTANT: Requires: 1. Firmware Version 3181 or higher in the DSX Controllers. 2. DSXKeyData.XML file to be modified. Contact tech support. 3. Call Technical Support for help in activating this feature. | - Included with Software -
DVR Integration | Digital Video Recorder Integration WinDSX has the ability to integrate with multiple DVR and NVR products. This integration allows stored and live video from the DVR/NVR to be accessed within the DSX software. All video is transmitted across a Local Area Network connection. The drivers available from DSX will be on Software Flash Drive. Most drivers must be obtained from the DVR manufacturer. For available and pending drivers, call DSX Technical Support or check the website at this location: http://www.dsxinc.com/partners.htm | - Included with Software -
PC Master | Communications Software Router Allows for LAN Communications to each Slave or cluster of Slave Controllers instead of just the Master Controller. This is NOT required for typical PC to Master Controller communications using TCP/IP and a DSX-LAN module. | - Included with Software -
DSX Part Number | DSX Software - Microsoft SQL™ Version | List Price
Optional Add On Features to Microsoft SQL™ Version of DSX Software
Export Names | Card Holder Data Export This program will export Card Holder data in a separate text file for each location group. Each file will be located in the same directory that this program is run from and will be named Names#.txt. The # sign will be the location group number. The fields are tab separated and the first line is the name of each field. Feature is compatible with Microsoft Access™ and SQL™ versions of WinDSX | 700
SoftKeyMod | Soft Key Modification For a Soft Key License change, typically due to a Domain name or Server name change, the following is required from the DSX Dealer: REQUIRED BY DSX: 1) Purchase Order from Dealer for part number "SoftkeyMod" 2) New PC or Domain name through one of the following methods that show the proper information: a) From CMD Prompt type: ipconfig/all>c:\windsx\dsxkey.txt ***Send the dsxkey.txt file*** b) Windows Screenshot showing Computer and Domain name. 3) Copy of DSXKeyData.xml from the WinDSX folder on the Comm Server Please send file / information and PO to: orders@dsxinc.com | 150
DSX Part Number | Integration Software | List Price
Soft I/O
Soft I/O | Integration Software Provides a bridging interface between the DSX Control Panel Network & various other devices and systems. Inputs & Outputs of other systems can be integrated and mapped into WinDSX through this interface | 1000
The base Soft I/O program without any special drivers will accept and send data in an open ended ASCII format. Runs as a service. **For special protocol communications, select from the list of drivers below. Contact DSX for the creation of special drivers
Special Drivers: (Add To The Base Cost of Soft I/O)
NOTE: The cost of the Special Drivers listed below is added to the base cost of Soft I/O
SIA/6500 Interface | SIA/6500 Automation Interface from Digital Receiver | 1000
Pricing Example: If you are ordering Soft I/O for integration with a digital receiver you order Soft I/O with the SIA/6500 Interface. The List Price is $1,000.00 + $1,000.00 for a total list price of $2,000.00. With 40% Discount level, Cost is $600.00 + 600.00 for a total cost of $1,200.00
High level elevator drivers are now available from braXos Security Software Find a full list at http://braxos.com/elevator-security/
Database Services
DSX-DB Migration | Migration from Microsoft Access to SQL | 500
DSX-DB Repair | Repair existing Access or SQL Database | Call for pricing
DSX-DB Conversion | Convert outside access control database to DSX database | Call for pricing
DSX-DB Management | Database API work | Call for pricing
DSX Part Number | DSX Literature & Demo Units | List Price
Documentation
ResourceUSB | DSX Technical documents on USB This USB contains all DSX documents in PDF format and all drawings in Visio file format. Sample Reports and help projects are also included on the USB. | 75
DSX Demo Units
All DSX Demo Units Include 3 Prox Cards and a DSX-USB. DOES NOT include WinDSX software
DS-1022D | DSX-1022 Demo Unit ALL Pre-configured: 1 - DSX-1022 controller 1 - Enclosure 1 - mullion mount prox reader 3 - prox cards 1 - Transformer 1 - Communication Cable 1 each - Egress & Door position switches | 1735
DS-1042D | DSX-1042 Demo Unit ALL Pre-configured: 1 - DSX-1042 controller 1 - enclosure 1 - mullion mount prox reader 3 - prox cards 1 - 1040 CDM 1 - DSX-PDP 1 - FRB8 1 - Communication Cable 1 each - Egress & Door Position Switches | 1945
DS-1048D | DSX-1048 Demo Unit All Pre-Configured: 4 - DSX-1042 controllers 1 - Enclosure 2 - mullion mount prox readers 3 - prox cards 1 - 1040CDM 1 - DSX-PDP 1 - FRB8 1 - Communication Cable 2 each - Egress & Door Position Switches | 5065
DSX Part Number | DSX Miscellaneous Items | List Price
Accessories
DSX-OX4 | Output Extender Provides 4 - Form C relay outputs fused at 1A each. This Module communicates via RS-232 or RS-485 and can be connected to any DSX-1022 and DSX 1042 Slave Controller. This module can also be connected to a serial port on the Comm Server and controlled with the ASCII output from input alarms and status change. The OX4 operates only with Slave Controllers | 360
DSX-TDM | Time Display Module (TDM) 4 Digit, 1 inch LED TDMs work between the Master and Slave using a Direct or LAN connection, or on any Slave Controller. | 385
DSX-TDM5 | Time Display Module - LARGE (TDM) 4 Digit, 5 Inch LED Requires 16.5V Transformer (sold separately). TDMs work between the Master and Slave using a Direct or LAN connection or on any Slave Controller. | 1385
DSX-1030PR5 | Retrofit Processor-No Enclosure Upgrade Processor to existing "Revised" 1030 Series I/O Controllers. Provides 512K or RAM and 512K of Flash ROM | 500
DSX-1030PR5NV | NV (Nonvolatile Memory Processor) on Retrofit Processor listed above. | 720
32K-RAM | 32K Byte RAM Chip For Memory Expansion For DSX 1032 and 1021 Controllers | 65
16V-XFR | 16.5 Volt 40 VA Plug-In Transformer | 27
12V-BATT | 12 Volt 7 Amp Hour Battery | 37
MOV22 | 12 Volt MOV Lock Surge Suppressor Bag of 100 only | 100
MOV38 | 24 Volt MOV Lock Surge Suppressor Bag of 100 only | 100
277-LOCK | DSX Enclosure Lock with 1 key | 8
The above products have a 1-Year Warranty!
DSX Part Number | DSX Miscellaneous Items | List Price
Enrollment Readers
FIPS201 Enrollment Reader | USB connected FIPS 201 Enrollment Reader This reader is preprogrammed by DSX to properly read a FIPS201 card and insert the proper data into the database. | 510
iClass 13.56Mhz Enrollment Reader | HID iClass 13.56Mhz Enrollment Reader Specify bit format. | 370
HID 125 kHz Enrollment Reader | HID 125 kHz Enrollment Reader Specify bit format. | 285
CAC Enrollment Reader | CAC Card Enrollment Reader SPECIFY: 75 or 200 bit | 725

## DSX Services
Services Part Number | DSX Services | List Price
Dealer Training Certification
DSX1040 Training Package | DSX Dealer Training is now performed in the safety and convenience of your own office. The training package must be ordered and used to Certify up to five technicians. The Training process includes a combination of hardware, software, and instructional material in both printed and digital form. Certification is achieved through online testing and remote verification of system configurations specified in the course. Equipment received for the training can then be used at the discretion of the Dealer. The PC that is used for the Training will need remote internet access for the DSX trainer to assist and evaluate. | 3900
Online End User Training
DSX Admin Training | Online End User Training is currently under development. Please check our website or touch base with your regional sales manager for details and availability. | Coming Soon No Charge
Optional WinDSX Software Administrative Support for End User
End User may purchase WinDSX Software Administration Support (12-months) from authorized DSX dealer. Price quotes provided to Authorized DSX Dealers only. Dealer must provide "screen shot" of WinDSX Database program's Software Registration Screen when requesting quote. |  | Based on System Size Call for Quote
Terms and Conditions 1. WinDSX Software Administration Support to Registered End-Users includes the following: > Software support for "How To" programming questions concerning the End User administration of the WinDSX Software > Support is provided directly by DSX technicians via telephone or email on regular business days (M-F) between 8 am and 5 pm CST. 2. WinDSX Software Administration Support to Registered End Users does NOT include the following: >Installation, uninstalling and/or troubleshooting assistance. Software installation & upgrades must be coordinated and performed by a currently authorized DSX dealer. >Support and troubleshooting for PC's, networks, modems, locks, printers, control panels or any other peripheral equipment that may be integrated into the overall system. ALL other support for hardware, software problems and emergency after hours support must be obtained through the End User's authorized DSX Dealer. >Software or Software Upgrades (Software Upgrades are NOT included) 3. Pricing for Administration Support is based on the size of the End User's system. Final price may vary from original quote given if the size of the End User's system changes after purchase of support.
Card Evaluation
DSX will evaluate and test Dealer Supplied Readers & Cards for compatibility & availability. DSX will return items freight prepaid by using best way determined by DSX. Dealer Purchase order for shipping required |  | No Charge except shipping
Database Manipulation
Importing cardholders from other systems, adding locations to existing database, merging databases and other custom database work. |  | By Quote
Contact Technical Support for Quote 800-346-5288 Select Option 3

## Readers Keypads Credentials
Part Number | Schlage Readers | List Price
NOTE: 125kHz Proximity Readers and Cards have become compromised. Consider using 13.56MHz card technology instead. There are multi-technology cards and readers to assist the migration from 125kHz to the more secure 13.56MHz readers and cards. Programming Cards are available for disabling 125kHz on multi-technology readers- Call for pricing & availability
Schlage 125 kHz Single Frequency Proximity Readers
(NOTE: Bold Blue Font Indicates New Product or Price Change)
PR10 | 125 kHz Proximity - Mini Mullion > Compatible with HID proximity, GE/Casi ProxLite, XceedlD and Schlage credentials > Wiegand interface > Standard color is black. >Optional colors: Add suffix to part number (C) Cream, (G) Gray and (BN) Brown (ex:PR10BN) | 147
Schlage 13.56 MHz Single Frequency Readers
SM10 | 13.56 MHz Smart - Mini Mullion >Compatible with 13.56MHz Schlage and XceedID MIFARE >Compatible with aptiQ MIFARE DESFire EV1 technology >Wiegand interface >Standard color is black >Optional colors: Add suffix to part number (C) Cream, (G) Gray and (BN) Brown (ex:SM10BN) | 147
Schlage Multi-Technology 125kHz and 13.56 Contactless Smart Card Readers Single Frequency Readers
MT11 | Multi-Technology - Mullion | 300
MT15 | Multi· Technology - Single Gang | 300
MTK15 | Multi-Technology Keypad - Single Gang > Compatible with HID proximity, GE/Casi ProxLite, XceedlD and Schlage credentials > Compatible with aptiQ MIFARE DESFire EV1 technology > Compatible with most 13.56 MHz credentials > Wiegand interface >Standard color is black >Optional colors: Add suffix to part number (C) Cream, (G) Gray and (BN) Brown (ex: MTK15BN) | 475
0.57
Part Number | Schlage Smart Cards | List Price
NOTE: 125kHz Proximity Readers and Cards have become compromised. Consider using 13.56MHz card technology instead. There are multi- technology cards and readers to assist the migration from 125kHz to the more secure 13.56MHz readers and cards. Programming Cards are available for disabling 125kHz on multi-technology readers- Call for pricing & availability
Schlage 125 kHz HID PROX Compatible Cards for Access Control only
7010 | Proximity Sticky Disk | 4.82
7410 | Clamshell HID 125kHz Compatible Card for Access Control only | 2.86
7510 | ISO compliant HID 125kHz Compatible Direct Print Card for Access Control only | 4.91
7510M1 | ISO compliant HID 125kHz Compatible Direct Print Card with Mag Stripe | 5.51
7610 | ISO compliant HID 125kHz Compatible Key Tag | 5.07
7610T | ISO compliant HID 125kHz Compatible Key Tag THIN | 5.41
For More Information go to: https://us.allegion.com/en/home/products/categories/readers/schlage-smart-card.html#
Schlage 13.56 MHz MIFARE Smart Cards for Access Control only
(NOTE: Bold Blue Font Indicates New Product or Price Change)
8540 | Mifare DESFire EVI - 4K Byte / 32K Memory | 7.63
9520 | ISO compliant Direct Print Card for Access Control only | 4.74
9520M1 | ISO/Magstripe compliant Direct Print Card for Access Control only | 5.26
9420 | Clamshell MIFARE 2.5 bit Smart Card | 3.84
9651 | MIFARE Smart 1k byte/8 bit Key fob | 6.57
For More Information go to: https://us.allegion.com/en/home/products/categories/readers/schlage-smart-card.html#
Warranty: Schlage Readers and credentials have a limited lifetime warranty. MIFARE and DESFire Credentials have limited 2 year warranty
Orders: ALL CARD OR TAG ORDERS ARE ONLY AVAILABLE IN INCREMENTS OF 100
Standard Orders: DSX 33-bit cards are standard stock. DSX 33-bit cards are never duplicated therefore you cannot specify a different facility code or card number range. The next available card numbers are shipped to you
Special Orders: Special Order Cards are any cards that are not DSX stock cards and are ordered from the manufacturer when DSX receives the order. >All 26-bit requests will be considered Special Order Cards. All Special Orders include an additional $0.65 Special Credentials Order Fee (SCOF) per credential. >Facility Code and Numbering Range MUST be specified on the PO >When ordering cards for an existing job, list the facility code and highest numbered card currently in the system. >To order additional Prox Cards for an existing 34-bit HID / Cardkey System you must specify REVERSE 26-bit cards.
Part Number | HID Readers & Keypads | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
HID Signo Readers
40NKS-00-000000 | Single Gang Box Designed for applications requiring wall switch mounting | 268
40KNKS-00-000000 | Single Gang Box with Keypad Designed for applications requiring wall switch mounting with 3 x 4 capacitive keypad. | 441
20NKS-00-000000 | Mullion Designed for applications requiring a narrow card reader. | 260
20KNKS-00-000000 | Mullion with Keypad Designed for applications requiring a narrow reader and 2 x 6 capacitive keypad. | 441
Important Information
*HID Reader Manager is required to configure Signo Readers. For more information:
https://www.hidglobal.com/reader-manager-system-requirements
**Factory Default on keypad readers is 4 bit output. Not supported by DSX.
***All above reader part numbers are pig tail option. Terminal strip options are available. Please call for availability.
****Signo Readers are also available with the Indala DSX 33 bit module. The reader must be ordered pre-programmed from the manufacturer. Use same part numbers as above with the exception of the last 6 digits. Use "00038K" if Indala 33 bit = 14966 is a required addition.
HID Proximity Readers
*** DSX Strongly Suggests Stop Using 125Khz Prox.Technology *****
*** HID Proximity readers will be supplied in Grey if no color is specified *****
ID-PL6005 | ProxPoint 3” Mullion Mount Reader Available in Grey or Black | 132
ID-MP5365 | MiniProx 4” Mullion Mount Reader Available in Beige or Grey | 210
ID-TL5395 | ThinLine II 4” Wall Switch Reader Available in Beige, Grey, Black, White | 226
ID-PR5355 | ProxPro 8” Proximity Reader Has screw terminals for termination. Available in Grey or Beige | 271
ID-PR5455 | ProxPro 8” Proximity Reader Same as 5355 but has pigtail for termination. Available in Beige Grey, Black, White | 247
ID-PR5455-GMK | Glass Mount Kit allows the ID-5355 and 5455 to mount to Glass. | 23
ID-PK5355-8 | ProxPro 8” Reader w/ Keypad Keypad has an 8-bit output for Card + PIN Available in Grey or Beige | 440
ID-PK5355-26 | ProxPro 8” Reader w/ Keypad (Grey or Beige) Keypad has a 26 bit output for Card or PIN | 440
ID-MX5375 | MaxiProx 25” Proximity Reader 24 Volt Linear Power Supply required. In Grey only. | 627
For More Information go to www.hidglobal.com
DSX does not stock readers in Beige or White but will Special Order upon request at no additional charge
Warranty: HID proximity readers have a limited lifetime warranty.
Part Number | HID Proximity Cards | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
HID Proximity Cards
ID-1326 | HID Proxcard II w/Lifetime Warranty | 3.24
ID-1336 | HID DuoProx II Direct Print single side + Magstripe | 6.57
ID-1346 | HID ProxKey III Key Chain Key fob | 6.47
ID-1386 | HID ISOProx II Direct Print - both sides | 5.99
ID-1351 | HID Power Prox Vehicle ID Tags - Minimum order of 10 | 37.07
ID-1391 | HID MicroProx Tag - Adhesive back/quarter size | 4.6
ID-1536 | HID Composite-40% polyester, Direct Print with Magstripe | 7.08
ID-1586 | HID Composite-40% polyester, Direct Print - both sides | 6.67
For More Information go to www.hidglobal.com
Warranty: HID proximity readers have a limited lifetime warranty.
Orders: ALL CARD OR TAG ORDERS ARE ONLY AVAILABLE IN INCREMENTS OF 100 with the exception of ID-1351 Vehicle ID Tags
Standard Orders: DSX 33-bit cards are standard stock. DSX 33-bit cards are never duplicated therefore you cannot specify a different facility code or card number range. The next available card numbers are shipped to you
Special Orders: Special Order Cards are any cards that are not DSX stock cards and are ordered from the manufacturer when DSX receives the order. DSX no longer stocks 26 bit credentials. All 26-bit requests will be considered Special Order Cards All Special Orders include an additional $0.65 Special Credentials Order Fee (SCOF) per credential. >Facility Code and Numbering Range MUST be specified on the PO >When ordering cards for an existing job, list the facility code and highest numbered card currently in the system. >To order additional Prox Cards for an existing 34-bit HID / Cardkey System you must specify REVERSE 26-bit cards.
Part Number | HID iClass Proximity Credentials | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
HID iClass "SR" Smart Credentials
IMPORTANT: HID has discontinued all "PVC" dual tech cards. Dual tech cards are "Composite" by default.
2000 | Direct Print Contactless Smart Card. 2K bits with 2 areas | 4.84
2100 | Direct Print Contactless Smart Card COMPOSITE. 2K bits w/ 2 areas | 5.3
2120 | Direct Print Contactless Smart Card + HID Prox card- 2K bits with 2 areas - Composite | 10.87
2124 | Direct Print Contactless Smart Card + HID Prox card. 16K bits with 16 areas - Composite | 12.96
2050 | Contactless Smart Key Tag. 2K bits with 2 areas | 6.29
2060 | Contactless Smart Stick On Tag. 2K bits with 2 areas | 4.24
2080 | Contactless Smart Card clamshell. 2K bits with 2 areas | 3.22
HID iClass "SE" Smart Credentials
3000-33 | iClass SE, 2k bit w/2 area, Composite | 4.84
3150-33 | iClass SE + Prox, 2k bit w/2 area, Composite | 10.87
3250-33 | iClass SE Smart Key Fob, 2k bit with 2 app areas | 6.27
HID iClass "SEOS" Smart Credentials
5006-33 | iClass SEOS, 8kb Memory, Composite | 4.6
5106-33 | iClass SEOS + Prox, 8kb Memory, Composite | 9.95
For More Information go to www.hidglobal.com
Orders: ALL CARD OR TAG ORDERS ARE ONLY AVAILABLE IN INCREMENTS OF 100 33 bit is standard stock. ALL 26 bit iClass credentials are considered Special Order and carry an additional $0.65 Special Card Order Fee (SCOF) per credential.
Standard Orders: DSX 33-bit cards are standard stock. DSX 33-bit cards are never duplicated therefore you cannot specify a different facility code or card number range. The next available card numbers are shipped to you
Special Orders: Special Order Cards are any cards that are not DSX stock cards and are ordered from the manufacturer when DSX receives the order. >All 26-bit requests will be considered Special Order Cards. All Special Orders include an additional $0.65 Special Credentials Order Fee (SCOF) per credential. >Facility Code and Numbering Range MUST be specified on the PO >When ordering cards for an existing job, list the facility code and highest numbered card currently in the system. >To order additional Prox Cards for an existing 34-bit HID / Cardkey System you must specify REVERSE 26-bit cards.
Part Number | HID multiClass SE Contactless Smart Card Readers 13.56MHz & 125kHz | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
*** DSX Strongly Suggests Stop Using 125Khz Prox. Technology *****
It has come to the public's attention that 125kHz Proximity Readers and cards have become compromised. Consider using 13.56MHz card technology instead. There are multi-technology cards and readers to assist the migration from 125kHz to the more secure 13.56MHz readers and cards. Programming Cards are available for disabling the 125kHz on multi-technology readers. Call for Pricing & Availability
HID multiClass SE Contactless Smart Card Readers
IMPORTANT: HID SE Devices are NOT "Government Requirement" Compliant
900L | RP10 SE multiCLASS/Indala 33-bit Prox-Mini Mullion | 159
900N | R10 SE No Prox-Mini Mullion | 125
900P | RP10 SE multiCLASS/HID Prox-Mini Mullion | 159
910L | RP15 SE multiCLASS/Indala 33-bit Prox-Mullion | 256
910N | R15 SE No Prox-Mullion | 222
910P | RP15 SE multiCLASS/HID Prox-Mullion | 256
920L | RP40 SE multiCLASS/Indala 33-bit Wall Switch | 256
920N | R40 SE No Wall Switch | 222
920P | RP40 SE multiCLASS/HID Prox Wall Switch | 256
940N | R90 iClass SE Extended Range Reader | 641
928NFNTEK00023 | RKLB40 Biometric Reader/Keypad; C+P | 1052
RB25FNK | Fingerprint/Smart Card Reader - mullion | 886
For More Information go to www.hidglobal.com
DSX Standard Options: Weigand, Pigtail, 125kHZ, Indala (33 bit) or HID. Color Options: BLACK Only…Gray Discontinued.
iClass "SR" 200, 202 & 208 series credentials are compatible with iClass and iClass SE readers.
Please review and confirm your part number configuration at HID before ordering from DSX. The HID SE device part numbers above contain specific feature and component information necessary for ordering the correct SE device. HID changes and revisions to part number configurations are ongoing. HID's instructions, feature options and configuration info is too extensive to provide here.
Part Number | HID multiClass SE Contactless Smart Card Reader/Keypad Combos 13.56 MHz & 125kHz | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
IMPORTANT: HID SE Devices are NOT "Government Requirement" Compliant
*** DSX Strongly Suggests Stop Using 125Khz Prox. Technology *****
It has come to the public's attention that 125kHz Proximity Readers and cards have become compromised. Consider using 13.56MHz card technology instead. There are multi-technology cards and readers to assist the migration from 125kHz to the more secure 13.56MHz readers and cards. Programming Cards are available for disabling the 125kHz on multi-technology readers. Call for Pricing & Availability
HID Card AND Pin
921P | RPK40 multiCLASS/HID Prox-w/keypad | 440
921L | RPK40 multiCLASS/Indala 33-bit Prox-w/keypad | 440
921N | RK40 No Prox-w/keypad | 406
For More Information go to: www.hidglobal.com
DSX Standard Options: Weigand & RS485, Pigtail, 125kHZ, Indala (33 bit) or HID. Color options: BLACK ONLY-…Gray Discontinued
Please review and confirm your part number configuration at HID before ordering from DSX. The HID SE device part numbers above contain specific feature and component information necessary for ordering the correct SE device. HID changes and revisions to part number configurations are ongoing. HID's instructions, feature options and configuration info is too extensive to provide here.
Part Number | HID Mobile AccessTM Products | List Price
DSX NO LONGER SELLS OR SUPPORTS HID MOBILE ACCESS PRODUCTS
Part Number | HID Origo Mobile Identities | List Price
DSX NO LONGER SELLS OR SUPPORTS HID MOBILE ACCESS PRODUCTS
Part Number | HID PIV-Class Contactless Smart Card Readers 13.56MHz & 125kHZ | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
IMPORTANT: HID SE Devices are NOT "Government Requirement" Compliant
*** DSX Strongly Suggests Stop Using 125Khz Prox. Technology *****
It has come to the public's attention that 125kHz Proximity Readers and cards have become compromized. Consider using 13.56MHz card technology instead. There are multi-technology cards and readers to assist the migration from 125kHz to the more secure 13.56MHz readers and cards. Programming Cards are available for disabling the 125kHz on multi-technology readers. Call for Pricing & Availablity
HID multiClass PIV Contactless Smart Card Readers
900NHR | R10-H PIV No Prox- Mini Mullion SPECIFY: 75 or 200 Bit | 155
900PHR | RP10-H PIV HID Prox-Mini Mullion SPECIFY: 75 or 200 Bit | 187
920NHR | R40-H PIV No Prox-Wall Switch SPECIFY: 75 or 200 Bit | 250
920PHR | RP40-H PIV multiCLASS/HID Prox-Wall Switch SPECIFY: 75 or 200 Bit | 284
HID multiClass PIV Contactless Smart Card Readers & Keypads
921NHR | RK40-H PIV No Prox w/ Keypad SPECIFY: 75 or 200Bit | 436
921PHR | RPK40-H PIV multiCLASS/HID Prox w/ Keypad SPECIFY: 75 or 200 Bit | 468
For More Information go to: www.hidglobal.com
DSX Standard Options: Weigand & RS485, Pigtail, 125kHZ, Indala (33 bit) or HID. Color options: BLACK ONLY-…Gray Discontinued
Please review and confirm your part number configuration at HID before ordering from DSX. The HID SE device part numbers above contain specific feature and component information necessary for ordering the correct SE device. HID changes and revisions to part number configurations are ongoing. HID's instructions, feature options and configuration info is too extensive to provide here.
https://www.hidglobal.com/documents/how-to-order
Part Number | HID Ultra Hi-Frequency Reader & Cards | List Price
HID Long Range Parking & Gate Control Solutions
RDRSEU909 K00000 | SE U90, UHF (Ultra High Frequency) Long Range Reader Can read up to 5 meters / 16 Feet | 1075
600TGGAN | SIO Enabled UHF Contactless Smart Card ***Direct to Card printing on these cards is NOT recommended*** | 9.5
Part Number | Farpointe Data Proximity Readers | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
Pyramid Series Proximity Readers / Keypads:
ALL of the Below are HID Compatible.
P- 300-H | CASCADE Mullion Mount Reader | 92
P- 500-H | ALPS Single-gang Wall Switch Mount Reader | 105.3
P- 620-H | DENALI Mullion Mount Reader / Keypad | 275
P- 640-H | PATAGONIA Wall Switch Reader / Keypad | 275
P- 710-H | ANDES Long Range Reader | 300
P-900-H | Long Range Reader- Up to 20 inches | 586
For More Information go to: http://www.farpointedata.com/
Warranty: Proximity readers have a limited lifetime warranty.
Delivery: Delivery time is 4 weeks if not in stock.
Important: If Card and/or Reader formats are not specified, DSX 33 bit will be shipped.
Part Number | Farpointe Data Proximity Readers & Keypads | List Price
Cobra Proximity Readers
MCR30-H | Cobra Prox Reader (Mullion) - Support HID/Indala-26 bit | 145
MCR 50-H | Cobra Prox Reader (Wallswitch) - Support HID/Indala-26 bit | 165
Cobra Keypad & Proximity Reader
MCR64-H | Cobra Keypad & Prox Reader - Support HID/Indala-26 bit 80% of Normal Read Range / Credit card size except for .046 inches thick | 265
Warranty: Farpointe Data Proximity Readers and Keypads have a limited lifetime warranty.
Delivery: Delivery time is 4 weeks if not currently in stock.
Part Number | Farpointe Data Pyramid Series Proximity Cards | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
Pyramid Proximity Cards:
PSC-1 | Credit Card Size Proximity Card Lifetime Warranty Standard vertical (portrait) slot punch. Imprinted number | 2.4
PSC-1-H | HID Compatible Credit Card Size Proximity Card, Lifetime Warranty Standard vertical (portrait) slot punch Imprinted number | 2.4
PSI-4 | Extra Durable Direct Print Proximity Card, Lifetime Warranty 80% of Normal Read Range Credit card size except for .046 inches thick. | 2.4
* Make sure your card printer can accept a card this thick *
PSM-2P | ISO Credit Card Size Proximity Card 1 Year Warranty Direct Print Card 80% of Normal Read Rnage .031 inches thick | 4.5
PSM-2S | ISO Credit Card Size Proximity Card 1 Year Warranty Direct Print Card 3 Track High Coercivity magnetic stripe 80% Read Range | 4.9
PSK-3 | Proximity Key Ring Tag Lifetime Warranty Durable and Small Tag attaches to key ring 50% Normal Read Range | 5.27
For More Information go to: http://www.farpointedata.com/
Warranty: PSC-1 and PSK-3 have a limited lifetime warranty PSM-2P and PSM-2S have a limited 1-year warranty.
Orders: ALL CARD OR TAG ORDERS ARE ONLY AVAILABLE IN INCREMENTS OF 100
Standard Orders: DSX 33-bit cards are standard stock. These cards are never duplicated and cannot specify a different facilty code or card number range. The next available card numbers are shipped to you.
Special Orders: Special Order Cards are any cards that are not DSX stock cards and are ordered from the manufacturer when DSX receives the order. All 26-bit requests will be Special Order All Special Orders include an additional $0.65 Special Credentials Order Fee (SCOF) per credential. >Format (26 bit, etc), Facility Code and Numbering range MUST be specified on the PO >When ordering cards for an existing job, you MUST list the Facility Code and Highest numbered card currently in the system.
Delivery: Allow 4-6 weeks delivery time for PSM cards if not currently in stock at DSX
Important If Card and/or Reader Formats are not specified on the PO, DSX 33-bit standard stock will be shipped.
Part Number | Farpointe Data Long Range Receivers & Transmitters | List Price
Long Range Transmitters & Receivers Ideal for Remote Door and Gate Operation.
WRT-2+ | Ranger Two-Button Long Range Transmitter 2-button clicker-type access credential Long range (upon button push) & proximity operation Supports only Pyramid Series readers. | 31
WRT-2+H | Ranger Two-Button Long Range Transmitter 2-button clicker type access credential Long range (upon button push) & proximity operation HID 125kHz compatible. | 31
WRT-4+ | Ranger Four-Button Long Range Transmitter 4-button clicker-type access credential Long range (upon button push) & proximity operation Supports only Pyramid Series readers | 33
WRT-4+H | Ranger Four-Button Long Range Transmitter 4-button clicker-type access credential Long range (upon button push) & proximity operation HID 125-kHz compatible. | 33
33 bit is standard stock. All other transmitters are considered Special Order All Special Orders include an additional $0.65 Special Credentials Order Fee (SCOF) per credential.
WRR-22 | Ranger Long-Range Receiver Two (2) Wiegand outputs offering support of Transmitter buttons 1' and '2' only. Typical fixed maximum read range: up to 100 feet (30m) | 235
WRR-44 | Ranger Long-Range Receiver Four (4) Wiegand outputs offering support of all four (4) of the Transmitter buttons. Typical adjustable maximim read range: up to 300 feet (91 m) | 350
For More Information go to: http://www.farpointedata.com/
Warranty: These Farpointe Data products have a limited 1-year warranty against defects in material & workmanship.
Part Number | Farpointe Data Delta Series 13.56MHz | List Price
Farpointe Delta Readers
Delta3 | Mullion Mount | 197
Delta5 | Single Gang Mount | 220
Delta6.5 | Reader / Keypad - Single Gang Mount | 384
Farpointe Delta Credentials
DM1-3 | ISO / MIFARE Compliant - 1k-byte memory | 3.1
DK1-3 | Key Fob - MIFARE Compliant - 1k-byte memory | 5.9
Warranty: These Farpoint Data products have a Limited Lifetime warranty against defects in material & workmanship.
DSX 33-Bit is Standard Stock. ALL 26-Bit requests are "Special Order" Facility Code and Numbering Range must be specified on the PO All Special Orders include an additional $0.65 Special Card Order Fee (SCOF) per credential
Part Number | Farpointe Data CONEKT | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
Readers - 2.4GHz / 13.56MHz
CSR-35L | Long Range Mobile Access Reader 15' Read Range Mullion and Single Gang Mount | 270
CSR-6.2 | NEW! Mobile-ready contactless smartcard keypad and reader; mullion mount | Coming Soon Call for Pricing
CSR-6.4 | NEW! Mobile-ready contactless keypad and reader; single-gang mount
PCR-35L | NEW! Mobile-ready proximity reader; supports Farpointe + certain HID® and AWID® 125-kHz proximity protocols; mullion and single-gang mount
PCR-620 | NEW! Mobile-ready proximity reader; supports Farpointe + certain HID® 125-kHz proximity protocols; mullion mount
PCR-640 | NEW! Mobile-ready proximity reader; supports Farpointe + certain HID® 125-kHz proximity protocols; single-gang mount
Credentials
CMC-2 | 2.4GHz Mobilre Access Credential | 6.9
CSC-2 | High-Security Clamshell Card | 6.15
CSM-2P | High-Security ISO Composite Card | 6.25
CSM-2S | High-Security ISO with HiCo Magnetic Stripe | 6.25
CSK-2 | High-Security Key Fob | 7.15
Warranty These Farpoint Data products have a 1-Year Limited warranty against defects in material & workmanship.
Orders: -Standard & Special Card and Tag orders only available in quantities of 100 -DSX 33-bit is Standard Stock. All 26-bit requests are Special order. All Special Orders include an additional $0.65 Special Credentials Order Fee (SCOF) per credential. Facility Code and numbering range must be specified on the PO
Part Number | Indala Proximity Readers and Credentials | List Price
(NOTE: Bold Blue Font Indicates New Product or Price Change)
Indala Proximity Readers:A586:D621A614A586:D613
FP-5061-8 | Indoor/Outdoor Wallswitch 4” Reader/Keypad (Black) This Keypad has an 8-bit output for Card + PIN | 562
FP-5061-26 | Indoor/Outdoor Wallswitch 4” Reader/Keypad (Black) This Keypad has a 26 bit output for Card OR PIN | 562
FP3511A | (ASR-603) Indoor/Outdoor Door Frame 5” (Mullion) Reader (Black) | 290
FP3521A | (ASR-605) Indoor/Outdoor Wallswitch 5” Reader (Black) | 290
FP3231A | (ASR-610) Indoor/Outdoor Standard 12” Reader (Black) | 365
ASR-620 | (ASR-620) Indoor/Outdoor Long 28” Reader, (Black) 24V Linear Power Supply required | 970
For More Information go to www.hidcorp.com
Warranty Indala proximity readers have a lifetime warranty
Important: If Reader format is not specified, DSX 33-bit will be shipped. You must specify bit format for both readers and cards
Indala Proximity Credentials:
FlexPass 121T | (FPCRD) Credit Card Size Proximity Card, Lifetime Warranty Standard vertical (portrait) slot punch | 3.63
FlexKey Keytag | (FPKEY) Key Tag Proximity Credential, Lifetime Warranty | 6.56
FlexPass ISO-30 | (FPISO) Direct Print Card, read range is 75% of ASR-121 card | 7.12
FlexPass ISO-30M | (FPISOwMAG) Direct Print Card with Magnetic Stripe | 7.6
FlexTag | (FPTAG) Adhesive-Backed Prox Credential - Quarter size | 6.52
Warranty: All of the above credentials offer a Lifetime Warranty Period
Orders: -All Card and Tag orders are only available in quantities of 100. -DSX 33-bit is Standard Stock -All 26-bit requests are Special Order. Facility Code and Numbering Range must be specified on the PO
Additional Card Order for Existing Job -Format (33 bit or 26 bit) MUST be indicated on the purchase order -DSX 33-bit is Standard Stock- these cards are never duplicated therefore, you cannot specify a different facility code or card number range. The next available card numbers will be shipped to you. -Special Order cards are all other cards. Special order cards are ordered from the manufacturer when DSX receives the order. All Special Orders include an additional $0.65 Special Card Order Fee (SCOF) per credential Facility code and numbering range must be specified on the PO To order additional Prox cards for an existing 34-bit HID / Cardkey System: Specify reverse 26-bit card format.
Important: If card and/or Reader formats are not specified, DSX 33-bit will be shipped.
Part Number | Essex Keypads | List Price
Essex Keypads - Single Gang Units:
DS-12-8W | 10 Digit Indoor/Outdoor Single Gang Keypad - 8 Bit Wiegand Burst Providing 4 to 7 digit codes. Can be used standalone or added to some readers fro Card + PIN operation | 303
DS-12-26 | 10 Digit Indoor/Outdoor Single Gang Keypad – 26 Bit Wiegand Providing up to 5 digit codes (65534 is highest number possible). Can be added to some readers for Card + PIN operation | 303
SH34SI | Illuminated Spy Proof Housing for Single Gang Keypads (not for SL units) | 242
Essex Keypads - Mullion Mount Units:
DS-12-SL8 | 10 Digit Indoor/Outdoor Slim Line Keypad - 8 Bit Wiegand Burst Providing 4 to 7 digit codes. Can be used standalone or added to some readers for Card + PIN operation. | 351
DS-12-SL26 | 10 Digit Indoor/Outdoor Slim Line Keypad - 26 Bit Wiegand Burst Providing up to 5 digit codes (65534 is highest number possible) Can be added to some readers for Card or PIN operation | 351
Essex Keypads - Reader/Keypad Units:
PiezoProx-8 | 10 Digit Indoor / Outdoor Single Gang Keypad with HID Prox Reader Providing 4 to 7 digit codes. Used for Card + PIN operation. | 658
PiezoProx-26 | 10 Digit Indoor / Outdoor Single Gang Keypad with HID Prox Reader Providing 5 digit codes. (65534 is highest nubmer possible. Used for Card or PIN operation | 658
Warranty: These Keypads have a 5 year limited warranty
NOTE: All "Stock" Essex keypads are "stainless in color
For more information go to www.keyless.com
Part Number | Essex Readers | List Price
Essex Readers - Single Gang Units:
ROX-PROX-SG | Heavy Duty Prox Reader - Single Gang | 263
ROX-PROX-N | Heavy Duty Prox Reader - Narrow | 263
Essex Miscellaneous:
BAK BOX SGS | Single Gang Stainless Back Box | 121
Part Number | Magnetic Stripe & Bar Code Readers | List Price
Mercury Readers
MR-10 | Gray Indoor/Outdoor Mag Stripe Swipe Reader Readers are set to read Track 2. Track 1 is a field option. Track 3 is a special order | 368
MR-20 | Gray Indoor/Outdoor Mag Stripe Swipe Card + Membrane Keypad For Card + PIN applications Readers are set to read Track 2. Track 1 is a field option. Track 3 is a special order. | 528
WP-10 | Single Gang Wall Plate For MR-## Readers | 11.75
WS-10 | Single Gang Weatherized Stainless Housing for MR Readers | 45
Warranty: All magnetic strip readers have a limited 2-year warranty.
Part Number | Photo ID Badging | List Price
Badging Webcam
Camera | USB Badging Webcam - Still image capture from streaming video | 650
Part Number | Modems | List Price
DSX Modems
DSX-Dial-up Modem | Dial-Up Modem 2 year warranty POTS line Only- Non-Digital DSX only supports modems sold by DSX | 430

## L-85 & Wireless Locksets
OEM Products Part Number | DSX L-85 Software & Wireless Locksets | List Price
LOCKSETS NOT PURCHASED FROM DSX WILL INCUR A SOFTWARE LICENSE CHARGE
If you are purchasing Locksets and/or Licenses for existing systems, you will need to e-mail the "DSXKeyData.XML" file to wirelesslocks@dsxinc.com
DSX L-85 Door Software License
L-85 | L-85 Per Door Software License (AD Series Locksets) | 550
Schlage - Integrated Locksets
AD Series Wireless Locks
AD | Schlage AD Series Wireless Locksets: - Requires DSX L-85 Software -Does NOT require additional License per Lockset | Due to the large number of configurations possible, please use contact information below.
For more Information and Pricing e-mail: wirelesslocks@dsxinc.com
LE & NDE Series Wireless Locks
LE & NDE | Schlage LE & NDE Series Wireless Locksets: -Requires DSX L-85 Software -Does NOT require additional License per Lockset | Due to the large number of configurations possible, please see email information below
For more Information and Pricing e-mail: wirelesslocks@dsxinc.com
OEM Products Part Number | Wireless Lockset Accessories | List Price
Schlage - Hardware & Accessories
PIM400-485 RSI | 16-Door Panel Interface Module (with outdoor enclosure standard) Supports up to 16 access points via RS-485 with DSX controller panels. | CALL FOR PRICING & AVAILABLITY
PIM400-TD2 with RLBD | Panel Interface Module (Supports 2 doors) Wiegand (data1/data0) or magnetic stripe (clock & data) output Includes: Weatherproof enclosure Internal antenna with ability to add remote antenna Requires 12 or 24 VDC power supply. Includes RLBD Dry Contact Board (7.1" x 7.1" enclosure) | CALL FOR PRICING & AVAILABLITY
GCK400 | Gate Control Kit - 1 each: WRI400 PIM400-TD2 ANT400-REM-I/O MGB + MCA5 12 V DC Power Supply | CALL FOR PRICING & AVAILABLITY
LE Gateway | LE Engage Gateway - Outdoor Wireless Reader Interface | CALL FOR PRICING & AVAILABLITY
NDE Gateway | NDE Engage Gateway - Outdoor Wireless Reader Interface Wireless Reader Interface for the LE & NDE Series of locksets Supports up to 10 locksets at a maximum distance of 30 feet. | CALL FOR PRICING & AVAILABLITY
OEM Products Part Number | Wireless Lockset Accessories | List Price
Schlage - Hardware & Accessories (Continued)
WRI400 | Outdoor Wireless Reader (Interface + Indoor) Wireless Reader Interface Compatible with Wiegand or Magnetic Stripe Interface Weatherproof Enclosure Inputs for two paralleled readers Requires 12 or 24 V DC Power Supply | CALL FOR PRICING & AVAILABLITY
TK400 | Wireless Test Kit Pre-installed Test Kit: Includes: WPR400-DT PIM400-TD2 593PI Power Supply Charger & Carrying Case | CALL FOR PRICING & AVAILABLITY
PS902 | POWER SUPPLY 2A @ 12/24 VDC - Field Selectable | CALL FOR PRICING & AVAILABLITY
HHD Kit-USB | Handheld Device pre-loaded with SUS application. Includes HH-USB Cable) Unit used to initialize, manage and test AD-Series and CO Series Not Compatible with: KC2, BE367, FE210, CM, CT1000, WA, CL, or NDE | CALL FOR PRICING & AVAILABLITY